## _Read me
Successive derivative ratio (ternary)
Family: Ratio spectra — derivative and mean centering
The idea in plain words
Ratio and derivative applied twice: first Y is removed (÷ Y′, derivative), then Z (÷ derivative of Z′/Y′, derivative).
What is in this workbook
• Sheet 'Standards': 6 spectra (wavelength in column A, one spectrum per column; the column title holds the concentrations)
• Sheet 'Divisor': 1 spectrum (wavelength in column A, one spectrum per column; the column title holds the concentrations)
• Sheet 'Divisor (processed)': 1 spectrum (wavelength in column A, one spectrum per column; the column title holds the concentrations)
• Sheet 'Mixtures': 5 spectra (wavelength in column A, one spectrum per column; the column title holds the concentrations)
• Sheet '_Calculation': the calibration and the results done with Excel formulas, so every number can be followed.
• Sheet '_Expected results': what Spectro gives for this example.
• Sheets whose name starts with _ are notes; Spectro does not import them.
How to use it in Spectro
1. File → New project…
2. Edit → Compounds… and add: X, Y, Z
3. File → Import spectra… → Add files… → choose this workbook.
4. Press 'Fill concentrations from names'. The Role column is filled from the sheet names (Standards → standard, Mixtures → mixture, …). Press Import.
5. Create the second divisor once: Process → pipeline on a Z standard: Divide by Y′ → Derivative (same Δλ) → saved as a derived spectrum.
6. Template Successive derivative ratio (ternary): first Divide = Y′, second Divide = that derived D1(Z′/Y′) spectrum.
7. Read X at a peak away from spikes. Calibrate, determine.
(In these steps X is the compound being determined and Y, Z the interfering ones — in this workbook the compounds are X, Y, Z.)
8. Compare your results with the sheet '_Expected results'.
Settings used in this example
• Compound: X; template: Successive derivative ratio (ternary)
• Step: Divide by spectrum (ratio spectrum) (reference=Y′, threshold=0.0001, divisor_derivative=0, divisor_delta_lambda=4)
• Step: Derivative (D1–D4) (order=1, method=difference, delta_lambda=4, window=11, polyorder=3, scaling=1)
• Step: Divide by spectrum (ratio spectrum) (reference=D1(Z′/Y′), threshold=0.0001, divisor_derivative=0, divisor_delta_lambda=4)
• Step: Derivative (D1–D4) (order=1, method=difference, delta_lambda=4, window=11, polyorder=3, scaling=1)
• Measurement: Amplitude at λ — w1 = 246
• Calibration: slope -1.229, intercept 0.0349, r = -0.99999 (n = 6)
• Second divisor: D1 of (Z′ ÷ Y′), made once with Process → pipeline and stored as a derived spectrum.
• 246.0 nm: best signal-to-noise of the processed X spectrum.
Checks / common mistakes
Read the signal away from spikes caused by zeros of the second divisor.
The spectra are simulated (Gaussian bands + 0.0004 AU noise) to show the method clearly; they are not measured data. See docs/methods/README.md for the full guide with screenshots.

## Standards
Wavelength (nm) | Std: X 4, Y 0, Z 0 | Std: X 8, Y 0, Z 0 | Std: X 12, Y 0, Z 0 | Std: X 16, Y 0, Z 0 | Std: X 20, Y 0, Z 0 | Std: X 24, Y 0, Z 0
200 | 0.001847 | 0.002641 | 0.004073 | 0.005484 | 0.007178 | 0.007883
200.5 | 0.001718 | 0.002713 | 0.005145 | 0.006812 | 0.008517 | 0.009014
201 | 0.001561 | 0.003824 | 0.005499 | 0.007669 | 0.008173 | 0.010144
201.5 | 0.001489 | 0.003544 | 0.005733 | 0.0081 | 0.010641 | 0.011711
202 | 0.001474 | 0.00527 | 0.006965 | 0.009094 | 0.011142 | 0.013972
202.5 | 0.002503 | 0.005362 | 0.006908 | 0.009788 | 0.01216 | 0.014335
203 | 0.002463 | 0.00543 | 0.008598 | 0.010781 | 0.013613 | 0.017098
203.5 | 0.002758 | 0.006442 | 0.009096 | 0.012067 | 0.015101 | 0.019146
204 | 0.00337 | 0.007562 | 0.010628 | 0.013435 | 0.017203 | 0.020609
204.5 | 0.003824 | 0.008822 | 0.011709 | 0.015749 | 0.019556 | 0.022786
205 | 0.003356 | 0.008165 | 0.012494 | 0.017046 | 0.021569 | 0.025791
205.5 | 0.005099 | 0.009884 | 0.014398 | 0.018968 | 0.023901 | 0.02886
206 | 0.004423 | 0.010674 | 0.015837 | 0.020677 | 0.025489 | 0.032262
206.5 | 0.006527 | 0.011454 | 0.01709 | 0.022697 | 0.028286 | 0.035054
207 | 0.006617 | 0.013198 | 0.019943 | 0.025042 | 0.032525 | 0.038922
207.5 | 0.006841 | 0.014263 | 0.021411 | 0.027783 | 0.035537 | 0.041999
208 | 0.008271 | 0.015898 | 0.022728 | 0.031174 | 0.039542 | 0.046053
208.5 | 0.008504 | 0.01678 | 0.025091 | 0.033989 | 0.042961 | 0.050284
209 | 0.009595 | 0.018636 | 0.028082 | 0.03709 | 0.046182 | 0.055448
209.5 | 0.010249 | 0.02057 | 0.030742 | 0.040727 | 0.051543 | 0.061089
210 | 0.0116 | 0.02233 | 0.033193 | 0.044074 | 0.056058 | 0.067045
210.5 | 0.012613 | 0.024383 | 0.037051 | 0.049245 | 0.061027 | 0.072604
211 | 0.012927 | 0.026273 | 0.039909 | 0.052673 | 0.066122 | 0.080066
211.5 | 0.014225 | 0.02899 | 0.043064 | 0.057896 | 0.07235 | 0.086778
212 | 0.015869 | 0.031537 | 0.047044 | 0.06378 | 0.078597 | 0.09413
212.5 | 0.016993 | 0.03413 | 0.05116 | 0.067289 | 0.085743 | 0.10216
213 | 0.017597 | 0.037016 | 0.054912 | 0.073482 | 0.092605 | 0.11188
213.5 | 0.020846 | 0.04035 | 0.059774 | 0.079853 | 0.10081 | 0.12028
214 | 0.020784 | 0.043044 | 0.064237 | 0.086661 | 0.10796 | 0.12956
214.5 | 0.022535 | 0.047014 | 0.069986 | 0.092785 | 0.11703 | 0.13983
215 | 0.02467 | 0.050299 | 0.075786 | 0.10063 | 0.1261 | 0.15182
215.5 | 0.027319 | 0.054209 | 0.080766 | 0.10836 | 0.13512 | 0.16233
216 | 0.029827 | 0.058141 | 0.087454 | 0.1165 | 0.14507 | 0.17513
216.5 | 0.031133 | 0.062815 | 0.093209 | 0.12395 | 0.15654 | 0.18793
217 | 0.033295 | 0.067206 | 0.10029 | 0.13406 | 0.16746 | 0.19978
217.5 | 0.03585 | 0.071563 | 0.10713 | 0.14376 | 0.17884 | 0.21522
218 | 0.038068 | 0.076254 | 0.11416 | 0.15303 | 0.19123 | 0.2292
218.5 | 0.040788 | 0.082252 | 0.12204 | 0.16273 | 0.2035 | 0.24409
219 | 0.042943 | 0.087014 | 0.12971 | 0.17335 | 0.21709 | 0.26018
219.5 | 0.046322 | 0.091835 | 0.13856 | 0.18353 | 0.23049 | 0.27711
220 | 0.049153 | 0.097991 | 0.14701 | 0.19617 | 0.24506 | 0.29413
220.5 | 0.05097 | 0.10384 | 0.15631 | 0.20838 | 0.26012 | 0.31184
221 | 0.054945 | 0.11027 | 0.16438 | 0.22021 | 0.27481 | 0.32964
221.5 | 0.05819 | 0.11616 | 0.17481 | 0.23131 | 0.29097 | 0.34926
222 | 0.061574 | 0.1224 | 0.18402 | 0.24523 | 0.30634 | 0.3687
222.5 | 0.064331 | 0.12985 | 0.19414 | 0.25859 | 0.32317 | 0.38868
223 | 0.067512 | 0.13529 | 0.20405 | 0.27198 | 0.33967 | 0.40866
223.5 | 0.07112 | 0.14244 | 0.21512 | 0.28641 | 0.35746 | 0.42976
224 | 0.075241 | 0.14983 | 0.22562 | 0.29939 | 0.37514 | 0.45097
224.5 | 0.07826 | 0.15699 | 0.23623 | 0.31411 | 0.39292 | 0.47188
225 | 0.081922 | 0.1644 | 0.24679 | 0.32915 | 0.41103 | 0.49372
225.5 | 0.086353 | 0.17179 | 0.25675 | 0.34398 | 0.43001 | 0.51561
226 | 0.08928 | 0.17959 | 0.26901 | 0.35845 | 0.44854 | 0.53779
226.5 | 0.092955 | 0.18602 | 0.27993 | 0.37368 | 0.46609 | 0.56023
227 | 0.097008 | 0.19528 | 0.29108 | 0.38839 | 0.48569 | 0.58159
227.5 | 0.10086 | 0.2018 | 0.3025 | 0.40268 | 0.50319 | 0.60452
228 | 0.10491 | 0.20868 | 0.31396 | 0.4185 | 0.52218 | 0.62716
228.5 | 0.10784 | 0.21615 | 0.32468 | 0.43256 | 0.54089 | 0.64831
229 | 0.11123 | 0.22351 | 0.33537 | 0.44676 | 0.55931 | 0.67054
229.5 | 0.11542 | 0.23004 | 0.34609 | 0.46205 | 0.57692 | 0.69344
230 | 0.11928 | 0.23821 | 0.35722 | 0.47682 | 0.59483 | 0.71372
230.5 | 0.12191 | 0.24457 | 0.36796 | 0.49041 | 0.61256 | 0.73485
231 | 0.12571 | 0.2516 | 0.37794 | 0.50402 | 0.62925 | 0.75558
231.5 | 0.12933 | 0.25798 | 0.38781 | 0.51691 | 0.64578 | 0.77506
232 | 0.13249 | 0.26456 | 0.39702 | 0.52862 | 0.66227 | 0.79406
232.5 | 0.1355 | 0.27095 | 0.40592 | 0.54216 | 0.67773 | 0.81262
233 | 0.13831 | 0.2763 | 0.41561 | 0.5537 | 0.69202 | 0.83029
233.5 | 0.14088 | 0.28301 | 0.42385 | 0.56375 | 0.70601 | 0.84698
234 | 0.14347 | 0.28717 | 0.43078 | 0.57509 | 0.71918 | 0.8631
234.5 | 0.14677 | 0.29241 | 0.43863 | 0.58487 | 0.73135 | 0.87848
235 | 0.14815 | 0.29718 | 0.44619 | 0.59481 | 0.74278 | 0.89173
235.5 | 0.15119 | 0.30165 | 0.45253 | 0.60286 | 0.75309 | 0.90486
236 | 0.15208 | 0.3053 | 0.45757 | 0.61056 | 0.76331 | 0.91595
236.5 | 0.15548 | 0.30864 | 0.46384 | 0.61735 | 0.77154 | 0.92622
237 | 0.15511 | 0.31181 | 0.46798 | 0.6227 | 0.77898 | 0.93508
237.5 | 0.15773 | 0.31431 | 0.47163 | 0.62755 | 0.7855 | 0.94238
238 | 0.15778 | 0.31588 | 0.47436 | 0.63257 | 0.7909 | 0.94899
238.5 | 0.15892 | 0.31815 | 0.47633 | 0.63573 | 0.79538 | 0.95389
239 | 0.15953 | 0.31885 | 0.479 | 0.63822 | 0.79768 | 0.9569
239.5 | 0.15966 | 0.31937 | 0.48047 | 0.63961 | 0.79943 | 0.95981
240 | 0.16094 | 0.32005 | 0.4805 | 0.63998 | 0.80031 | 0.96051
240.5 | 0.15998 | 0.31967 | 0.47938 | 0.63998 | 0.79935 | 0.95978
241 | 0.15907 | 0.31928 | 0.47925 | 0.63847 | 0.7985 | 0.95736
241.5 | 0.15928 | 0.31816 | 0.47681 | 0.63585 | 0.79549 | 0.9531
242 | 0.15851 | 0.31619 | 0.47379 | 0.63214 | 0.7914 | 0.94993
242.5 | 0.15674 | 0.31451 | 0.47172 | 0.62776 | 0.78594 | 0.94316
243 | 0.15617 | 0.31187 | 0.46678 | 0.62324 | 0.78007 | 0.93485
243.5 | 0.15452 | 0.30833 | 0.46354 | 0.61793 | 0.77291 | 0.92724
244 | 0.15316 | 0.30628 | 0.45891 | 0.61171 | 0.76438 | 0.91674
244.5 | 0.15126 | 0.30194 | 0.45335 | 0.60374 | 0.75478 | 0.90614
245 | 0.14893 | 0.29779 | 0.44789 | 0.596 | 0.74399 | 0.89356
245.5 | 0.14655 | 0.29375 | 0.4404 | 0.58731 | 0.73394 | 0.88072
246 | 0.14469 | 0.28807 | 0.43258 | 0.57825 | 0.72148 | 0.86604
246.5 | 0.14191 | 0.28328 | 0.4256 | 0.56725 | 0.70858 | 0.85082
247 | 0.13851 | 0.27856 | 0.41758 | 0.55701 | 0.69588 | 0.83468
247.5 | 0.13608 | 0.27181 | 0.40866 | 0.54528 | 0.68162 | 0.81827
248 | 0.13318 | 0.26639 | 0.39943 | 0.53301 | 0.66632 | 0.79975
248.5 | 0.13026 | 0.26136 | 0.39093 | 0.52053 | 0.65176 | 0.78263
249 | 0.12818 | 0.25474 | 0.38151 | 0.50916 | 0.6362 | 0.76384
249.5 | 0.12394 | 0.24778 | 0.37213 | 0.49674 | 0.62088 | 0.74435
250 | 0.12107 | 0.24176 | 0.36257 | 0.48451 | 0.60364 | 0.72528
250.5 | 0.11829 | 0.23554 | 0.3532 | 0.47026 | 0.588 | 0.70561
251 | 0.11457 | 0.2284 | 0.34334 | 0.45766 | 0.57178 | 0.68622
251.5 | 0.11127 | 0.22219 | 0.33388 | 0.44436 | 0.55608 | 0.66699
252 | 0.10837 | 0.21583 | 0.32335 | 0.43047 | 0.53884 | 0.64686
252.5 | 0.10472 | 0.20928 | 0.31429 | 0.41872 | 0.52203 | 0.62815
253 | 0.10156 | 0.20356 | 0.30374 | 0.40579 | 0.50685 | 0.60926
253.5 | 0.098663 | 0.1968 | 0.29517 | 0.39304 | 0.49204 | 0.59058
254 | 0.095543 | 0.19068 | 0.2855 | 0.38219 | 0.47722 | 0.5729
254.5 | 0.092198 | 0.18502 | 0.27706 | 0.36963 | 0.46304 | 0.55479
255 | 0.089211 | 0.17919 | 0.26945 | 0.3589 | 0.44855 | 0.53834
255.5 | 0.086971 | 0.17369 | 0.26067 | 0.34796 | 0.43476 | 0.52309
256 | 0.085059 | 0.16889 | 0.25407 | 0.33771 | 0.42285 | 0.50701
256.5 | 0.08205 | 0.16401 | 0.24711 | 0.3285 | 0.4107 | 0.49279
257 | 0.080412 | 0.16063 | 0.24007 | 0.32013 | 0.39968 | 0.47972
257.5 | 0.078111 | 0.15674 | 0.23372 | 0.31151 | 0.38974 | 0.46791
258 | 0.076008 | 0.1521 | 0.228 | 0.30387 | 0.38117 | 0.45654
258.5 | 0.073464 | 0.14791 | 0.22322 | 0.29879 | 0.37222 | 0.447
259 | 0.073199 | 0.14607 | 0.2193 | 0.29262 | 0.36514 | 0.43796
259.5 | 0.071805 | 0.14409 | 0.21535 | 0.28728 | 0.35955 | 0.43108
260 | 0.070299 | 0.14162 | 0.21278 | 0.28372 | 0.35467 | 0.42523
260.5 | 0.070387 | 0.14063 | 0.21023 | 0.2801 | 0.35058 | 0.42063
261 | 0.069634 | 0.13953 | 0.20918 | 0.27855 | 0.34787 | 0.41768
261.5 | 0.069474 | 0.13839 | 0.20724 | 0.27764 | 0.34677 | 0.41622
262 | 0.068977 | 0.13834 | 0.20785 | 0.2761 | 0.34663 | 0.41516
262.5 | 0.069404 | 0.13825 | 0.20835 | 0.27764 | 0.3469 | 0.41541
263 | 0.06944 | 0.13908 | 0.20849 | 0.27884 | 0.34842 | 0.41787
263.5 | 0.070553 | 0.13981 | 0.21097 | 0.2804 | 0.35113 | 0.42083
264 | 0.070855 | 0.14139 | 0.21303 | 0.28326 | 0.35323 | 0.42427
264.5 | 0.07109 | 0.14389 | 0.21523 | 0.28647 | 0.35765 | 0.42996
265 | 0.072734 | 0.14517 | 0.21735 | 0.29041 | 0.36296 | 0.43546
265.5 | 0.073807 | 0.14799 | 0.22145 | 0.29438 | 0.36842 | 0.44243
266 | 0.074947 | 0.15019 | 0.22444 | 0.30077 | 0.37475 | 0.44988
266.5 | 0.075833 | 0.15214 | 0.22893 | 0.30522 | 0.38189 | 0.45856
267 | 0.078215 | 0.15554 | 0.23287 | 0.31122 | 0.38844 | 0.46642
267.5 | 0.07897 | 0.15834 | 0.23785 | 0.31696 | 0.39613 | 0.47545
268 | 0.081396 | 0.16103 | 0.24199 | 0.32323 | 0.40299 | 0.48465
268.5 | 0.082004 | 0.16435 | 0.24694 | 0.3293 | 0.41095 | 0.49402
269 | 0.083768 | 0.168 | 0.25163 | 0.33461 | 0.41931 | 0.503
269.5 | 0.085181 | 0.17088 | 0.25532 | 0.34094 | 0.42578 | 0.51079
270 | 0.086637 | 0.17299 | 0.25995 | 0.3462 | 0.43301 | 0.51994
270.5 | 0.088923 | 0.17544 | 0.26343 | 0.35111 | 0.43961 | 0.52731
271 | 0.088843 | 0.17807 | 0.26704 | 0.35669 | 0.44501 | 0.53473
271.5 | 0.090914 | 0.18031 | 0.27014 | 0.36082 | 0.45066 | 0.54094
272 | 0.091228 | 0.18248 | 0.27263 | 0.36355 | 0.45498 | 0.54566
272.5 | 0.091422 | 0.18316 | 0.27487 | 0.36668 | 0.45878 | 0.55021
273 | 0.092737 | 0.18409 | 0.27707 | 0.36853 | 0.46092 | 0.55329
273.5 | 0.092905 | 0.18511 | 0.27812 | 0.36982 | 0.46227 | 0.55556
274 | 0.093074 | 0.18459 | 0.27806 | 0.37037 | 0.46305 | 0.55681
274.5 | 0.09206 | 0.18513 | 0.27811 | 0.3706 | 0.46275 | 0.55558
275 | 0.092468 | 0.1847 | 0.2772 | 0.3685 | 0.46155 | 0.55334
275.5 | 0.091548 | 0.18265 | 0.27539 | 0.36625 | 0.45846 | 0.55127
276 | 0.09086 | 0.18219 | 0.27191 | 0.36378 | 0.45443 | 0.5451
276.5 | 0.08984 | 0.17953 | 0.26965 | 0.35928 | 0.44939 | 0.53936
277 | 0.088657 | 0.17719 | 0.26643 | 0.35505 | 0.44364 | 0.53184
277.5 | 0.087802 | 0.17422 | 0.26162 | 0.34828 | 0.4356 | 0.52248
278 | 0.085628 | 0.17089 | 0.25639 | 0.34171 | 0.42799 | 0.51318
278.5 | 0.082846 | 0.16715 | 0.25061 | 0.33403 | 0.41743 | 0.50193
279 | 0.082 | 0.16276 | 0.24461 | 0.32508 | 0.40727 | 0.48898
279.5 | 0.079277 | 0.15768 | 0.23758 | 0.31711 | 0.39655 | 0.47548
280 | 0.076875 | 0.15399 | 0.23081 | 0.30757 | 0.38432 | 0.46087
280.5 | 0.073529 | 0.14846 | 0.22274 | 0.29742 | 0.37096 | 0.44486
281 | 0.071732 | 0.14335 | 0.21471 | 0.28621 | 0.35782 | 0.42953
281.5 | 0.068578 | 0.13765 | 0.20653 | 0.27538 | 0.34361 | 0.41217
282 | 0.06628 | 0.13227 | 0.19818 | 0.26353 | 0.32983 | 0.395
282.5 | 0.063132 | 0.12588 | 0.18879 | 0.25176 | 0.31496 | 0.37785
283 | 0.060285 | 0.11969 | 0.18004 | 0.23949 | 0.29948 | 0.36009
283.5 | 0.05678 | 0.11493 | 0.17068 | 0.22765 | 0.28481 | 0.34123
284 | 0.053164 | 0.10839 | 0.1612 | 0.2152 | 0.26933 | 0.32383
284.5 | 0.051257 | 0.10208 | 0.15261 | 0.20372 | 0.25432 | 0.30592
285 | 0.048036 | 0.096209 | 0.14382 | 0.1912 | 0.23937 | 0.28728
285.5 | 0.044775 | 0.090369 | 0.13487 | 0.17921 | 0.22431 | 0.26942
286 | 0.04178 | 0.083155 | 0.12597 | 0.16797 | 0.21018 | 0.2521
286.5 | 0.038812 | 0.078111 | 0.11739 | 0.15664 | 0.19601 | 0.23484
287 | 0.035705 | 0.072877 | 0.10874 | 0.14496 | 0.18222 | 0.21812
287.5 | 0.033274 | 0.067734 | 0.10118 | 0.13455 | 0.16917 | 0.20273
288 | 0.031152 | 0.062095 | 0.094171 | 0.12448 | 0.15579 | 0.18737
288.5 | 0.029365 | 0.057499 | 0.086072 | 0.11504 | 0.14301 | 0.17213
289 | 0.026557 | 0.052331 | 0.079112 | 0.10571 | 0.13168 | 0.1581
289.5 | 0.02479 | 0.048178 | 0.072999 | 0.096907 | 0.12082 | 0.14464
290 | 0.021637 | 0.043289 | 0.066169 | 0.088058 | 0.11021 | 0.13197
290.5 | 0.020559 | 0.039927 | 0.060269 | 0.07989 | 0.10051 | 0.11995
291 | 0.018028 | 0.03702 | 0.054122 | 0.0722 | 0.091293 | 0.10856
291.5 | 0.017041 | 0.032399 | 0.049689 | 0.065857 | 0.082225 | 0.099088
292 | 0.015327 | 0.029913 | 0.045056 | 0.059174 | 0.074132 | 0.088873
292.5 | 0.013349 | 0.026141 | 0.039979 | 0.053504 | 0.066278 | 0.080036
293 | 0.012003 | 0.023465 | 0.036265 | 0.048192 | 0.060157 | 0.07241
293.5 | 0.011161 | 0.022272 | 0.032411 | 0.04349 | 0.053266 | 0.063853
294 | 0.009188 | 0.018654 | 0.027426 | 0.037672 | 0.047099 | 0.057269
294.5 | 0.007575 | 0.016826 | 0.025857 | 0.033982 | 0.041755 | 0.050104
295 | 0.007797 | 0.01476 | 0.021851 | 0.029218 | 0.037187 | 0.044575
295.5 | 0.007464 | 0.012077 | 0.019948 | 0.026782 | 0.033583 | 0.03983
296 | 0.005041 | 0.01151 | 0.017578 | 0.022707 | 0.029304 | 0.03469
296.5 | 0.00517 | 0.010429 | 0.015162 | 0.020287 | 0.024751 | 0.029943
297 | 0.003974 | 0.008352 | 0.013195 | 0.017344 | 0.022183 | 0.026066
297.5 | 0.003759 | 0.007216 | 0.011474 | 0.016123 | 0.019483 | 0.023385
298 | 0.002967 | 0.006373 | 0.009913 | 0.013689 | 0.017088 | 0.019832
298.5 | 0.003267 | 0.006007 | 0.00857 | 0.012026 | 0.014723 | 0.017771
299 | 0.002301 | 0.004657 | 0.007267 | 0.01002 | 0.012339 | 0.015221
299.5 | 0.002092 | 0.004652 | 0.006467 | 0.008828 | 0.011009 | 0.012883
300 | 0.001428 | 0.003983 | 0.005624 | 0.007004 | 0.009086 | 0.011139
300.5 | 0.001886 | 0.002441 | 0.004696 | 0.006177 | 0.007067 | 0.009851
301 | 0.001155 | 0.002153 | 0.004197 | 0.005981 | 0.006509 | 0.008161
301.5 | 0.001004 | 0.002264 | 0.003135 | 0.003878 | 0.005502 | 0.006552
302 | 0.000949 | 0.001577 | 0.00301 | 0.003943 | 0.005279 | 0.006005
302.5 | 0.000247 | 0.001965 | 0.002805 | 0.003795 | 0.004561 | 0.004823
303 | 0.000689 | 0.001863 | 0.002717 | 0.003221 | 0.003069 | 0.004089
303.5 | -5.9e-05 | 0.000913 | 0.00125 | 0.00261 | 0.002999 | 0.003737
304 | 0.000403 | 0.001394 | 0.001771 | 0.001968 | 0.002489 | 0.003069
304.5 | 0.000322 | 0.001099 | 0.001333 | 0.002178 | 0.001473 | 0.002856
305 | 0.000181 | 0.000706 | 0.000239 | 0.001247 | 0.000883 | 0.001968
305.5 | 0.000203 | 0.000999 | 0.000596 | 0.001114 | 0.001377 | 0.001513
306 | -3.6e-05 | 0.000329 | 0.000302 | 0.000261 | 0.001224 | 0.001266
306.5 | 0.000397 | 0.00055 | 0.000784 | 0.000896 | 0.000726 | 0.001303
307 | 0.000157 | 7.7e-05 | 0.001063 | 0.000507 | -0.000292 | 0.00063
307.5 | -5.9e-05 | -8.8e-05 | 0.000891 | 0.00052 | 0.000638 | 0.000634
308 | 1.4e-05 | 0.000863 | 0.000415 | -0.000483 | 0.000299 | 0.000301
308.5 | -0.000184 | 0.000866 | 0.000808 | -0.000129 | 7.6e-05 | 0.00021
309 | 1.9e-05 | 0.000241 | 0.000365 | 0.000219 | 0.000221 | 0.000348
309.5 | -6.9e-05 | 0.000583 | 0.000258 | -0.000259 | -0.000167 | 0.001288
310 | -0.000675 | -1.5e-05 | -0.000469 | 0.000439 | 0.000453 | 0.000122
310.5 | 0.000696 | -0.000159 | -0.000179 | 0.000975 | 0.000189 | 0.000321
311 | -0.000148 | 0.000319 | -5.9e-05 | 0.000101 | -7.6e-05 | 0.000213
311.5 | -0.000245 | 0.000683 | -0.000237 | 0.000264 | 0.000231 | 7.1e-05
312 | 0.000139 | 7.6e-05 | -0.000338 | -0.000109 | 8.1e-05 | 0.000124
312.5 | -0.000821 | 0.000124 | -0.000146 | -0.000136 | -0.000532 | 0.000856
313 | -0.000147 | 5.2e-05 | 0.000432 | -0.000546 | 2e-06 | -3.2e-05
313.5 | 0.000132 | -0.000306 | 0.000208 | 0.000235 | -0.000136 | 0.000683
314 | -9.9e-05 | -0.00071 | 0.000128 | -0.00052 | -0.000659 | 0.000297
314.5 | 3.1e-05 | 8.1e-05 | -0.000126 | -0.000207 | -0.000232 | -0.000306
315 | -0.000173 | -0.000512 | -0.000168 | -0.000243 | 0.000193 | -0.000228
315.5 | -0.000144 | 0.000677 | -2e-06 | -0.000507 | -0.00023 | -0.00016
316 | -1.4e-05 | 9.6e-05 | -0.000289 | -0.000309 | 0.000577 | -0.000409
316.5 | 6.3e-05 | 0.00027 | 7.3e-05 | -8.2e-05 | 0.00069 | 0.000461
317 | -0.000436 | 0.000352 | -5.4e-05 | 0.000381 | -0.000114 | 0.00017
317.5 | 0.000113 | -0.000405 | -0.000118 | -4.7e-05 | 0.000228 | 0.000214
318 | 0.00012 | -0.000431 | 6.5e-05 | 0.000471 | 0.000802 | -0.000396
318.5 | -0.000247 | 0.000579 | -1.2e-05 | 8.6e-05 | -0.000129 | 0.000186
319 | -0.000229 | 0.000212 | 0.000106 | 5e-06 | -0.000357 | -0.000207
319.5 | 4.7e-05 | 6e-05 | -0.000378 | 0.000141 | -0.000167 | 0.000951
320 | 0.000465 | 0.000334 | -0.000402 | -0.000167 | -0.000548 | -3.4e-05
320.5 | 0.000435 | -0.000815 | -0.000336 | 0.000309 | -0.000538 | 0.000112
321 | -0.000333 | 0.000436 | -0.000397 | 0 | 8.4e-05 | 0.000163
321.5 | -0.000217 | 9.3e-05 | 0.000488 | -9e-06 | -0.000166 | -0.000185
322 | -0.000225 | 0.000192 | -0.000354 | 0.000658 | 9.9e-05 | -0.000152
322.5 | 0.000152 | 0.000304 | 0.000128 | -0.00039 | 0.000196 | -0.000153
323 | -6.5e-05 | 0.000844 | 0.00026 | -0.000441 | -0.000305 | 0.000332
323.5 | 0.000127 | 0.000305 | 0.000548 | -8.3e-05 | -7.8e-05 | -0.000284
324 | 0.000497 | -3e-06 | -9.8e-05 | 6.3e-05 | -0.000108 | -6.3e-05
324.5 | 8.4e-05 | -0.000314 | -0.000237 | -0.000179 | -0.000267 | 0.000128
325 | 0.000157 | 0.001074 | 5.4e-05 | 0.000303 | -0.000334 | -0.00016
325.5 | 0.000133 | -0.000768 | 0.00069 | 8.3e-05 | 0.000126 | -0.000533
326 | -0.000313 | -9e-05 | -0.000123 | 9.2e-05 | -5.6e-05 | -0.000465
326.5 | -7.1e-05 | -9.4e-05 | 0.000345 | -0.000559 | 0.000133 | -0.000163
327 | -0.000104 | -0.00038 | 0.000364 | 0.000617 | 0.0004 | -0.000378
327.5 | -0.000216 | -0.000282 | -0.000472 | -1.3e-05 | 0.000406 | 0.000374
328 | 0.000592 | -9.8e-05 | 0.000434 | -0.000394 | -0.000445 | 5e-06
328.5 | 0.000211 | -0.000566 | 0.000276 | 0.000496 | -0.000342 | -1.2e-05
329 | -0.001089 | -0.000234 | -0.000631 | -4.6e-05 | -0.000102 | -0.000395
329.5 | -0.000342 | 1.5e-05 | 0.000367 | -0.000325 | 4.9e-05 | 0.000202
330 | -5.5e-05 | -0.000747 | 0.000482 | -0.000474 | 0.000375 | -0.000141
330.5 | -1.8e-05 | -0.00015 | 2.1e-05 | -3.8e-05 | -0.000385 | -0.000373
331 | -0.000347 | -6.8e-05 | 0.000103 | -0.000287 | -0.000175 | -0.000251
331.5 | -0.000148 | -0.000188 | 0.000274 | -0.000423 | 9.9e-05 | 0.000923
332 | -0.000175 | -0.000184 | 0.000125 | -7e-05 | 0.000492 | -0.00024
332.5 | -0.000206 | -0.000171 | -0.000348 | -0.000125 | 0.000552 | -0.000341
333 | 0.000235 | -0.00031 | -0.000474 | -0.00025 | -0.000402 | 0.000444
333.5 | -3.8e-05 | -0.000414 | -0.000302 | 0.000337 | -8.5e-05 | 0.000283
334 | -0.000245 | 0.000164 | -0.000294 | 0.000553 | -0.000323 | -0.000115
334.5 | -0.000135 | -5.8e-05 | 0.000237 | 0.000535 | 0.000339 | 0.000532
335 | -1.9e-05 | -2.1e-05 | -0.00051 | -0.000178 | 0.000179 | -0.000573
335.5 | -0.000457 | 0.000582 | -0.000344 | -0.000236 | -0.000143 | -0.000191
336 | -0.000237 | 0.000449 | -0.000354 | -0.000651 | -0.000244 | -0.000642
336.5 | 0.000226 | -0.000171 | 0.000483 | -0.000135 | 0.000118 | 0.000526
337 | 0.000383 | 0.000704 | 0.000659 | -0.000411 | 0.000392 | 1.1e-05
337.5 | -0.000956 | 1.2e-05 | 0.000169 | 3.9e-05 | -0.000307 | 0.001
338 | 0.000968 | 0.000481 | 0.00031 | -0.000138 | -0.000129 | 0.000172
338.5 | -0.00026 | -0.00069 | 0.000252 | 0.00022 | 4.5e-05 | 0.000178
339 | 0.000314 | 0.000712 | -0.000379 | -4.9e-05 | 7e-06 | -0.000446
339.5 | -0.000551 | -2.9e-05 | -0.00027 | 0.00015 | 0.000135 | -0.000467
340 | 0.000276 | -0.000276 | 0.000178 | 0.00021 | -0.0004 | -0.0002
340.5 | 1e-05 | -0.000317 | 4e-05 | -0.000987 | -0.000238 | 0.000338
341 | -3.2e-05 | -0.000975 | -0.000839 | -0.000431 | -0.00084 | -0.000419
341.5 | -0.00012 | -0.000505 | -0.000391 | 6.8e-05 | 2.2e-05 | -0.00094
342 | -0.000101 | -0.000291 | -3.2e-05 | -2.8e-05 | 0.000428 | 0.000312
342.5 | 0.000295 | 0.000609 | -0.000585 | 4.8e-05 | -0.000823 | 0.000334
343 | -0.000302 | 2.7e-05 | 0.000222 | -0.000225 | -0.000253 | -0.000378
343.5 | -0.000102 | -0.000163 | 0.000237 | 0.000253 | 0.000359 | 0.000147
344 | -0.000158 | 0.000465 | 0.00049 | -0.000211 | -5.7e-05 | 0.00041
344.5 | -0.000654 | 0.000153 | -0.000461 | -0.000131 | -0.000758 | 0.000428
345 | 3.7e-05 | -0.000254 | -0.00011 | -0.000283 | 0.000468 | -0.000637
345.5 | -1.6e-05 | -0.000344 | 0.000307 | 0.000242 | -0.00057 | -4e-06
346 | -0.000192 | -0.000699 | -0.000369 | 0.00029 | 0.000548 | -0.000331
346.5 | -0.000547 | -6.3e-05 | -2e-06 | -4.9e-05 | -0.000234 | 0.000342
347 | -0.00014 | -0.000875 | -0.000292 | 0.000115 | -0.000283 | 3e-06
347.5 | -6.5e-05 | 0.000324 | -3.1e-05 | -0.000847 | 1.1e-05 | -0.000504
348 | -4e-06 | -0.000657 | -0.000515 | 0.00035 | -9e-06 | 4e-06
348.5 | 2.1e-05 | 7e-06 | -1.6e-05 | -0.000815 | 0.00024 | 0.000194
349 | -0.00048 | 0.000413 | 0.00059 | -0.000266 | 0.000201 | -0.000642
349.5 | 0.000409 | -0.00033 | 0.000435 | -0.000992 | -5.9e-05 | -0.000567
350 | 0.000317 | -3.9e-05 | -0.000271 | -0.000268 | 0.000529 | -0.000306
350.5 | 0.000316 | 0.000774 | -7.5e-05 | -0.00029 | 0.000285 | -0.000161
351 | 0.000187 | -0.000178 | -0.000448 | 0.000766 | 0.00011 | -0.000265
351.5 | 0.000527 | 0.000399 | 0.000373 | -0.000492 | 5.4e-05 | -0.000758
352 | 0.000293 | 0.000362 | 7.5e-05 | -0.001099 | -3.8e-05 | -0.000656
352.5 | 0.000451 | -0.000727 | 0.000404 | 1.2e-05 | -3.1e-05 | -6.1e-05
353 | 0.000131 | 0.000129 | -2.4e-05 | -0.000166 | 0.000266 | 0.000114
353.5 | 5.8e-05 | -0.000496 | -0.000285 | 0.000423 | 0.00019 | -0.000393
354 | 0.000254 | 9.2e-05 | 0.000275 | 0.00028 | 1.6e-05 | 1.9e-05
354.5 | -0.000281 | 0.000124 | -0.000518 | -0.000723 | 0.000406 | 0.000689
355 | -9e-05 | 0.000474 | -0.000104 | -0.00018 | -0.000105 | -0.000126
355.5 | 8.3e-05 | -5e-06 | 0.00042 | -0.000166 | 0.000174 | -0.000215
356 | -0.000235 | 7.2e-05 | -0.000281 | 2e-06 | 0.000344 | -0.000317
356.5 | -0.000978 | 0.000155 | -0.001127 | -0.000168 | -0.000446 | 0.000144
357 | -0.000233 | 0.000945 | -0.000444 | -8.4e-05 | -0.000106 | 5.1e-05
357.5 | -0.000297 | 0.000166 | 0.000705 | 6.9e-05 | 0.000668 | 6.2e-05
358 | 0.000344 | 0.000808 | -0.000175 | -0.00076 | -0.000383 | -0.000181
358.5 | -0.000763 | -0.000225 | -0.000515 | -0.000422 | 0.000461 | 0.000128
359 | -0.000308 | -0.000344 | -0.000233 | 0.000516 | -0.000424 | 0.00013
359.5 | 0.000636 | 0.000302 | 0.000515 | 0.000468 | 0.000162 | -8.6e-05
360 | -0.000947 | -0.000288 | -0.000222 | 6.6e-05 | -0.000426 | 0.000424
360.5 | -0.000111 | 0.000126 | -0.000477 | 0.000212 | -0.000247 | -0.000636
361 | -0.000259 | 8e-06 | 0.000682 | 0.000396 | -0.00015 | 0.000253
361.5 | -0.000689 | 0.000897 | 3e-06 | 0.000572 | -0.00022 | -7.4e-05
362 | 0 | 0.00071 | 0.000283 | -3.2e-05 | 0.000403 | 0.000306
362.5 | -0.000357 | 0.000935 | -0.000635 | -0.000258 | 0.000333 | 0.000722
363 | -0.001085 | 0.00035 | 0.000538 | 0.000482 | 0.000348 | -1e-06
363.5 | -0.000247 | -1.6e-05 | 5e-05 | -0.00011 | 7.7e-05 | -9.3e-05
364 | -0.000543 | -1.8e-05 | 0.000606 | -0.000347 | 0.000655 | -2.6e-05
364.5 | 0.000428 | 0.000831 | 0.000454 | 0.000237 | 0.000412 | 0.000526
365 | 2e-06 | -0.000412 | -1.6e-05 | -6.9e-05 | 0.00013 | 0.000589
365.5 | -0.000447 | -0.000165 | 5.3e-05 | -3.1e-05 | -0.00042 | 5.2e-05
366 | 7.8e-05 | -0.000343 | -1e-06 | -3.4e-05 | 0.000274 | 0.000242
366.5 | 0.000758 | 0.000487 | 0.001153 | 0.00031 | 0.000261 | 0.000694
367 | -0.00052 | 1.6e-05 | 0.000343 | 5.7e-05 | 3.8e-05 | 0.000203
367.5 | -0.000408 | 0.000403 | 0.000546 | 4.9e-05 | 0.000285 | -0.000596
368 | -4.6e-05 | 0.000567 | 0.000305 | -0.000561 | 0.000308 | -0.000327
368.5 | 1.4e-05 | 0.001184 | -0.00075 | -0.000564 | -0.000119 | -0.000195
369 | 6.1e-05 | 0.000406 | -0.000508 | -0.000453 | 0.000226 | 0.00015
369.5 | -0.000609 | -0.000912 | 0.000605 | -0.000257 | 0.000139 | -0.000224
370 | 3.6e-05 | -0.000807 | 8.5e-05 | 0.000463 | 0.000125 | 0.000543
370.5 | -0.000475 | -4.8e-05 | -0.00025 | -0.000226 | -0.000137 | -0.000188
371 | -0.000319 | 0.000644 | 0.000235 | -0.000171 | -0.000185 | 0.000616
371.5 | 0.000357 | -0.000328 | 8.5e-05 | 0.000819 | 4.7e-05 | -0.000257
372 | -0.000299 | -0.000106 | 0.000898 | 0.000159 | 0.000573 | 0.000531
372.5 | 0.000232 | -0.000535 | -0.000232 | -0.000141 | 0.00093 | 7.8e-05
373 | -0.000141 | -0.000217 | -0.000238 | 0.000286 | -0.000148 | 0.000564
373.5 | 5.7e-05 | 0.000151 | 0.000126 | 6.3e-05 | -0.000422 | 0.000777
374 | 5.3e-05 | -2e-06 | 0.000448 | 0.000634 | -0.000137 | 0.000696
374.5 | 0.000247 | 9.1e-05 | 4.1e-05 | 0.00032 | -0.000334 | 0.000419
375 | 0.000284 | 0.000386 | 0.000295 | -0.000294 | -0.000167 | -0.000284
375.5 | -0.000304 | -6.7e-05 | -3.2e-05 | 0.000533 | 0.000159 | -0.000308
376 | 0.000656 | -0.000284 | -2.8e-05 | -0.000406 | -0.000366 | -0.00124
376.5 | 0.000235 | -0.001083 | -6.8e-05 | 0.000865 | 0.000244 | 0.000594
377 | 0.000375 | -0.000438 | -0.00015 | 0.000286 | 0.000317 | 0.000514
377.5 | 0.000392 | 0.0005 | 0.000367 | -0.000732 | 0.000607 | 0.000419
378 | -0.000193 | -0.000506 | -0.000169 | 0.000988 | 0.000728 | -0.00043
378.5 | -2.8e-05 | -0.000249 | 0.000433 | -0.000197 | 0.000399 | 0.001107
379 | 3.1e-05 | -0.000373 | -0.00063 | -0.000818 | 0.000907 | -0.000246
379.5 | 0.000112 | -2.8e-05 | -0.000864 | 0.000884 | -0.0002 | 0.000363
380 | 0.000677 | 0.000222 | 0.001083 | -0.000249 | 0.000111 | -0.000619
380.5 | 0.000741 | -0.000316 | -0.000478 | 3.6e-05 | 6.9e-05 | -0.00022
381 | 0.001382 | -0.000372 | 0.000361 | -2e-06 | 0.000176 | 0.000508
381.5 | 0.000735 | 0.000221 | 7.1e-05 | 0.00013 | 0.00041 | 0.000431
382 | 0.000675 | -0.00064 | 0.000384 | 0.000333 | -0.000129 | -0.000404
382.5 | -2.6e-05 | 0.00011 | 0.00095 | -0.00062 | 0.000685 | -1e-05
383 | -0.000332 | -0.000328 | 9.1e-05 | 0.001149 | 0.00051 | 0.000468
383.5 | 1e-05 | -9.5e-05 | 0.000329 | 0.000369 | 0.000141 | -0.000705
384 | -0.00011 | 0.000311 | -0.000133 | 9.9e-05 | 0.000189 | 0.000328
384.5 | -0.0004 | 0.000265 | 0.000254 | 0.000355 | -0.000385 | -0.000591
385 | -9.4e-05 | 0.000382 | -0.000523 | 0.000144 | -0.00099 | 0.000272
385.5 | 0.000176 | -0.000279 | 0.000581 | 0.000428 | -3.2e-05 | -8.1e-05
386 | 2.3e-05 | -4e-06 | 3.8e-05 | 0.000351 | 0.00013 | 0.00041
386.5 | 0.000364 | -0.000308 | -0.000383 | 0.000425 | 9.4e-05 | -0.000186
387 | 0.000251 | -0.000432 | -4.8e-05 | 0.000284 | -0.000436 | -0.000123
387.5 | 0.000177 | -0.000161 | -3.4e-05 | 2.4e-05 | -0.000177 | -0.000126
388 | 0.00051 | 0.000115 | 0.000537 | 0.000171 | 0.000704 | -0.000367
388.5 | -3.8e-05 | 2.3e-05 | -0.000595 | -8.7e-05 | 0.000294 | -0.000102
389 | 3.6e-05 | -3.1e-05 | -0.000338 | 0.000267 | 0.00025 | -0.000396
389.5 | 0.00059 | -0.000425 | 0.000286 | -0.000504 | -0.00012 | -0.000218
390 | 0.00039 | -7e-06 | -0.000197 | -0.000544 | 0.000299 | 0.000274
390.5 | -0.000595 | 0.000146 | 2e-06 | 0.000401 | 0.000517 | -0.000126
391 | 5.6e-05 | 0.000734 | 0.000217 | -0.0006 | 0.000307 | 0.000428
391.5 | 0.000624 | -0.000166 | -0.000354 | 0.000167 | -0.000157 | 0.000283
392 | 0.0002 | 0.000398 | 0.000148 | 0.0003 | 0.000118 | 0.000331
392.5 | 0.0005 | 3.2e-05 | -0.000639 | -0.000914 | -0.000346 | -0.000451
393 | -0.000595 | 0.00121 | -0.000561 | 7.5e-05 | -0.000117 | 0.000166
393.5 | 0.000189 | 0.000326 | 5.9e-05 | 0.00065 | 0.00024 | 0.000574
394 | -0.000794 | 0.000732 | -0.000337 | -0.000242 | -0.000208 | 0.000362
394.5 | 0.000296 | 0.000364 | -0.000353 | 0.000626 | -8.7e-05 | 0.000489
395 | -0.000475 | -0.000311 | -0.000378 | -0.000478 | 0.000576 | 0.000606
395.5 | 0.000579 | -0.000309 | 2.3e-05 | -0.000932 | -6.2e-05 | -0.000599
396 | -0.000259 | 4.1e-05 | -0.000108 | -0.000414 | 0.00031 | 0.000229
396.5 | 6.4e-05 | -0.000368 | 9e-06 | -0.000382 | -0.000114 | 0.00022
397 | 0.000126 | 0.000173 | 0.000239 | 0.000311 | -0.000447 | -7.6e-05
397.5 | 9e-06 | -0.000231 | 0.000751 | -0.000164 | 7e-06 | -0.000519
398 | -0.000601 | -7.2e-05 | -0.000129 | -0.000338 | -0.000137 | 6e-05
398.5 | 0.000305 | -0.00061 | 0.000497 | -0.000352 | -0.000794 | -6.2e-05
399 | -0.000185 | 0.00079 | -0.000116 | 0.000469 | -0.000472 | 0.000778
399.5 | 0.000995 | -0.000423 | -0.000399 | -0.000834 | -0.000161 | 0.000523
400 | -9.1e-05 | -1.5e-05 | 0.000152 | -0.000631 | 0.000592 | -0.000161

## Divisor
Wavelength (nm) | Divisor: X 0, Y 12, Z 0
200 | -0.000138
200.5 | -2.6e-05
201 | -2.1e-05
201.5 | -1.4e-05
202 | 0.00017
202.5 | 4.3e-05
203 | 7.8e-05
203.5 | 3.7e-05
204 | -7.7e-05
204.5 | 7.4e-05
205 | 0.000158
205.5 | 8.8e-05
206 | 1.3e-05
206.5 | -6.1e-05
207 | 0.000337
207.5 | 3.8e-05
208 | 6.2e-05
208.5 | 2.3e-05
209 | 0.000274
209.5 | 0.000286
210 | 0.000217
210.5 | 0.000348
211 | 0.000459
211.5 | 0.000451
212 | 0.00045
212.5 | 0.000642
213 | 0.000816
213.5 | 0.00078
214 | 0.000972
214.5 | 0.001289
215 | 0.001532
215.5 | 0.001701
216 | 0.001867
216.5 | 0.002248
217 | 0.002335
217.5 | 0.002713
218 | 0.003075
218.5 | 0.003641
219 | 0.003898
219.5 | 0.004466
220 | 0.005328
220.5 | 0.00571
221 | 0.006261
221.5 | 0.007409
222 | 0.008333
222.5 | 0.009074
223 | 0.010163
223.5 | 0.0114
224 | 0.012808
224.5 | 0.014398
225 | 0.015946
225.5 | 0.017361
226 | 0.019607
226.5 | 0.02135
227 | 0.023698
227.5 | 0.026047
228 | 0.028593
228.5 | 0.031279
229 | 0.034708
229.5 | 0.037646
230 | 0.041281
230.5 | 0.044697
231 | 0.048801
231.5 | 0.052846
232 | 0.057414
232.5 | 0.062204
233 | 0.066952
233.5 | 0.072307
234 | 0.077913
234.5 | 0.083818
235 | 0.089902
235.5 | 0.096074
236 | 0.10266
236.5 | 0.10967
237 | 0.11699
237.5 | 0.12444
238 | 0.13181
238.5 | 0.13963
239 | 0.14793
239.5 | 0.15636
240 | 0.16498
240.5 | 0.17338
241 | 0.18225
241.5 | 0.19133
242 | 0.2001
242.5 | 0.20937
243 | 0.21856
243.5 | 0.22759
244 | 0.23674
244.5 | 0.24547
245 | 0.25421
245.5 | 0.26337
246 | 0.27186
246.5 | 0.28032
247 | 0.2883
247.5 | 0.29599
248 | 0.30363
248.5 | 0.31085
249 | 0.31762
249.5 | 0.32414
250 | 0.33013
250.5 | 0.3355
251 | 0.34033
251.5 | 0.34471
252 | 0.34893
252.5 | 0.35227
253 | 0.35495
253.5 | 0.35742
254 | 0.35868
254.5 | 0.35979
255 | 0.3601
255.5 | 0.35963
256 | 0.35896
256.5 | 0.35729
257 | 0.35513
257.5 | 0.35217
258 | 0.34891
258.5 | 0.34497
259 | 0.34065
259.5 | 0.33572
260 | 0.33037
260.5 | 0.32415
261 | 0.31804
261.5 | 0.31129
262 | 0.30426
262.5 | 0.2964
263 | 0.28907
263.5 | 0.28086
264 | 0.27283
264.5 | 0.26443
265 | 0.25592
265.5 | 0.24762
266 | 0.23901
266.5 | 0.23049
267 | 0.22186
267.5 | 0.21323
268 | 0.20523
268.5 | 0.1971
269 | 0.18938
269.5 | 0.18163
270 | 0.17424
270.5 | 0.16746
271 | 0.16076
271.5 | 0.15476
272 | 0.14916
272.5 | 0.14412
273 | 0.13947
273.5 | 0.13538
274 | 0.1321
274.5 | 0.12935
275 | 0.12714
275.5 | 0.12559
276 | 0.1246
276.5 | 0.12448
277 | 0.1247
277.5 | 0.1256
278 | 0.12746
278.5 | 0.12995
279 | 0.13245
279.5 | 0.13577
280 | 0.1402
280.5 | 0.14419
281 | 0.14923
281.5 | 0.15417
282 | 0.15978
282.5 | 0.16509
283 | 0.17084
283.5 | 0.17677
284 | 0.18244
284.5 | 0.18817
285 | 0.19371
285.5 | 0.19859
286 | 0.20342
286.5 | 0.20775
287 | 0.21156
287.5 | 0.21501
288 | 0.21752
288.5 | 0.21962
289 | 0.22102
289.5 | 0.22121
290 | 0.2211
290.5 | 0.22011
291 | 0.2183
291.5 | 0.21594
292 | 0.21257
292.5 | 0.2085
293 | 0.2037
293.5 | 0.19868
294 | 0.19213
294.5 | 0.18579
295 | 0.17907
295.5 | 0.17194
296 | 0.16406
296.5 | 0.15625
297 | 0.14795
297.5 | 0.1399
298 | 0.13156
298.5 | 0.12341
299 | 0.11511
299.5 | 0.10701
300 | 0.099174
300.5 | 0.091323
301 | 0.08417
301.5 | 0.077166
302 | 0.070218
302.5 | 0.064036
303 | 0.057881
303.5 | 0.051992
304 | 0.046921
304.5 | 0.041787
305 | 0.037464
305.5 | 0.032949
306 | 0.029209
306.5 | 0.025494
307 | 0.022565
307.5 | 0.019634
308 | 0.017079
308.5 | 0.01505
309 | 0.01301
309.5 | 0.011252
310 | 0.009467
310.5 | 0.008212
311 | 0.006641
311.5 | 0.005669
312 | 0.004911
312.5 | 0.004098
313 | 0.00339
313.5 | 0.003055
314 | 0.002647
314.5 | 0.00197
315 | 0.001828
315.5 | 0.00133
316 | 0.001042
316.5 | 0.001037
317 | 0.000778
317.5 | 0.000404
318 | 0.000497
318.5 | 0.000514
319 | 9.8e-05
319.5 | 0.000147
320 | 0.00022
320.5 | -1e-06
321 | -3e-06
321.5 | 0.000237
322 | 0.000288
322.5 | 5e-06
323 | -3.7e-05
323.5 | -2.6e-05
324 | -0.000222
324.5 | 1.7e-05
325 | 6.9e-05
325.5 | 0.000114
326 | 0.000273
326.5 | -0.000113
327 | 0.000153
327.5 | 2.6e-05
328 | -4.9e-05
328.5 | 0.00011
329 | -2e-05
329.5 | -9.5e-05
330 | 9.8e-05
330.5 | -7.6e-05
331 | 3.9e-05
331.5 | 0.0001
332 | 4.4e-05
332.5 | -0.000142
333 | 9.9e-05
333.5 | 0.000138
334 | -0.000123
334.5 | -0.000129
335 | -0.000308
335.5 | -4.2e-05
336 | -0.00019
336.5 | 1e-05
337 | 3.9e-05
337.5 | 0.000151
338 | -5.4e-05
338.5 | -8.4e-05
339 | 6.1e-05
339.5 | -5.5e-05
340 | 2.3e-05
340.5 | 7.4e-05
341 | -0.000154
341.5 | 0.000196
342 | -2e-05
342.5 | 0.000153
343 | 0.000143
343.5 | -9.2e-05
344 | -0.000221
344.5 | 0.000118
345 | 0.000151
345.5 | -5.7e-05
346 | -1.7e-05
346.5 | -6.1e-05
347 | 4.8e-05
347.5 | -0.00021
348 | -4.1e-05
348.5 | 0.000105
349 | 8.1e-05
349.5 | -0.00015
350 | 0.0002
350.5 | -0.000134
351 | 1.6e-05
351.5 | -0.000124
352 | 9e-06
352.5 | -1.8e-05
353 | 3.9e-05
353.5 | 0.000156
354 | -0.00015
354.5 | -7.9e-05
355 | 3.2e-05
355.5 | -0.000179
356 | 2.7e-05
356.5 | 1e-06
357 | -1.7e-05
357.5 | 8.3e-05
358 | 0.000138
358.5 | -1e-06
359 | -8.5e-05
359.5 | 4.2e-05
360 | -0.000205
360.5 | 4.3e-05
361 | 8.4e-05
361.5 | 0.000113
362 | 0.000267
362.5 | -0.000205
363 | -3e-06
363.5 | -0.00026
364 | -8.5e-05
364.5 | -0.000182
365 | 7.6e-05
365.5 | 7.5e-05
366 | -0.000205
366.5 | 2.2e-05
367 | 3.9e-05
367.5 | 0.000134
368 | -0.000171
368.5 | 0.000107
369 | -3e-05
369.5 | -4.8e-05
370 | 7.4e-05
370.5 | 5.7e-05
371 | 1.8e-05
371.5 | 0.0001
372 | 0.000206
372.5 | 0.000256
373 | 5.6e-05
373.5 | 9.2e-05
374 | -0.000245
374.5 | 0.000113
375 | -0.000279
375.5 | 1.3e-05
376 | 0.000113
376.5 | -0.000126
377 | -4e-06
377.5 | -0.000134
378 | 0.000187
378.5 | -1.6e-05
379 | 0.000169
379.5 | -5e-05
380 | 6.3e-05
380.5 | -0.000138
381 | -0.000182
381.5 | 0.000225
382 | 0.000274
382.5 | -2.8e-05
383 | -4.5e-05
383.5 | -3.2e-05
384 | 4.3e-05
384.5 | -8.8e-05
385 | 0.000127
385.5 | 3.9e-05
386 | 8.5e-05
386.5 | -1.6e-05
387 | 0.000173
387.5 | -9.4e-05
388 | -0.000172
388.5 | -5e-06
389 | 6.1e-05
389.5 | 7.8e-05
390 | -2.9e-05
390.5 | -8.8e-05
391 | -5e-05
391.5 | 0.000405
392 | -0.00019
392.5 | -3.7e-05
393 | 3.4e-05
393.5 | 2e-06
394 | 0.000106
394.5 | 0.000106
395 | 4.6e-05
395.5 | -0.000274
396 | -0.000286
396.5 | -9e-05
397 | 3e-06
397.5 | 4.6e-05
398 | -4.2e-05
398.5 | -0.000147
399 | 9.1e-05
399.5 | -7.6e-05
400 | 9.4e-05

## Divisor (processed)
Wavelength (nm) | Second divisor: D1 of the Z/Y ratio
202 | 0.82907
202.5 | 0.59433
203 | 0.35959
203.5 | 0.14843
204 | -0.062728
204.5 | -0.039153
205 | -0.015578
205.5 | 0.20634
206 | 0.42826
206.5 | 0.65017
207 | 0.87209
207.5 | 0.73269
208 | 1.432
208.5 | 0.88816
209 | 0.67829
209.5 | 0.71742
210 | 0.58472
210.5 | 0.085144
211 | -0.31402
211.5 | 0.056404
212 | -0.81166
212.5 | -0.36288
213 | -0.26255
213.5 | -0.50571
214 | -0.57081
214.5 | -0.36356
215 | -0.1065
215.5 | -0.37802
216 | -0.22842
216.5 | -0.20274
217 | -0.092407
217.5 | -0.11473
218 | -0.18014
218.5 | -0.086368
219 | -0.13765
219.5 | -0.15674
220 | -0.17059
220.5 | -0.095568
221 | -0.12793
221.5 | -0.12868
222 | -0.084221
222.5 | -0.11822
223 | -0.14111
223.5 | -0.096002
224 | -0.09282
224.5 | -0.106
225 | -0.10146
225.5 | -0.090563
226 | -0.08744
226.5 | -0.070635
227 | -0.077352
227.5 | -0.076239
228 | -0.065042
228.5 | -0.070217
229 | -0.062129
229.5 | -0.058411
230 | -0.060092
230.5 | -0.058338
231 | -0.047494
231.5 | -0.049842
232 | -0.046428
232.5 | -0.049862
233 | -0.044028
233.5 | -0.043733
234 | -0.038664
234.5 | -0.036941
235 | -0.037361
235.5 | -0.035171
236 | -0.031831
236.5 | -0.028793
237 | -0.028665
237.5 | -0.027186
238 | -0.02591
238.5 | -0.023808
239 | -0.021846
239.5 | -0.019929
240 | -0.019093
240.5 | -0.017849
241 | -0.016361
241.5 | -0.014726
242 | -0.013148
242.5 | -0.011496
243 | -0.009454
243.5 | -0.008818
244 | -0.007774
244.5 | -0.00595
245 | -0.004112
245.5 | -0.002942
246 | -0.001409
246.5 | -0.000486
247 | 0.000647
247.5 | 0.002431
248 | 0.003652
248.5 | 0.005069
249 | 0.006569
249.5 | 0.008029
250 | 0.009059
250.5 | 0.010324
251 | 0.011897
251.5 | 0.013164
252 | 0.015
252.5 | 0.016078
253 | 0.017359
253.5 | 0.018997
254 | 0.020675
254.5 | 0.022279
255 | 0.023725
255.5 | 0.026217
256 | 0.027282
256.5 | 0.029345
257 | 0.030922
257.5 | 0.03228
258 | 0.034104
258.5 | 0.036584
259 | 0.03807
259.5 | 0.039498
260 | 0.041615
260.5 | 0.044145
261 | 0.045635
261.5 | 0.048021
262 | 0.05037
262.5 | 0.051921
263 | 0.053982
263.5 | 0.055324
264 | 0.057482
264.5 | 0.05848
265 | 0.060577
265.5 | 0.061921
266 | 0.062404
266.5 | 0.062347
267 | 0.062185
267.5 | 0.062382
268 | 0.060776
268.5 | 0.05792
269 | 0.054668
269.5 | 0.04809
270 | 0.041749
270.5 | 0.033512
271 | 0.023368
271.5 | 0.010547
272 | -0.004598
272.5 | -0.021406
273 | -0.040114
273.5 | -0.058606
274 | -0.079213
274.5 | -0.10053
275 | -0.12115
275.5 | -0.141
276 | -0.1595
276.5 | -0.17589
277 | -0.18832
277.5 | -0.19843
278 | -0.20662
278.5 | -0.20858
279 | -0.20914
279.5 | -0.20576
280 | -0.19986
280.5 | -0.19006
281 | -0.18133
281.5 | -0.17065
282 | -0.15752
282.5 | -0.14657
283 | -0.13412
283.5 | -0.12211
284 | -0.11069
284.5 | -0.10067
285 | -0.090669
285.5 | -0.081637
286 | -0.073187
286.5 | -0.065488
287 | -0.058369
287.5 | -0.052632
288 | -0.046899
288.5 | -0.041613
289 | -0.037013
289.5 | -0.032963
290 | -0.029064
290.5 | -0.025571
291 | -0.0229
291.5 | -0.02009
292 | -0.016838
292.5 | -0.015009
293 | -0.0129
293.5 | -0.009992
294 | -0.008536
294.5 | -0.006131
295 | -0.003656
295.5 | -0.001684
296 | 0.000265
296.5 | 0.002675
297 | 0.005278
297.5 | 0.007355
298 | 0.011403
298.5 | 0.013691
299 | 0.017817
299.5 | 0.022026
300 | 0.026899
300.5 | 0.032323
301 | 0.039167
301.5 | 0.049008
302 | 0.058333
302.5 | 0.071081
303 | 0.083231
303.5 | 0.10435
304 | 0.12138
304.5 | 0.15297
305 | 0.18468
305.5 | 0.22443
306 | 0.27122
306.5 | 0.32713
307 | 0.40349
307.5 | 0.48247
308 | 0.61882
308.5 | 0.73933
309 | 0.98355
309.5 | 1.1957
310 | 1.4586
310.5 | 1.8498
311 | 2.3536
311.5 | 2.6924
312 | 3.1842
312.5 | 4.6612
313 | 5.018
313.5 | 7.5172
314 | 10.1695
314.5 | 10.2621
315 | 14.4495
315.5 | 31.495
316 | 25.3585
316.5 | 23.8175
317 | 64.0685
317.5 | 102.1978
318 | 65.0758
318.5 | 65.3303
319 | 61.3557
319.5 | 44.6761
320 | 38.4711
320.5 | -3.5718
321 | -86.4121
321.5 | -169.2524
322 | -177.0535
322.5 | -72.9676
323 | 31.1183
323.5 | 135.2042
324 | 24.2994
324.5 | -254.3625
325 | 190.2162
325.5 | 262.4011
326 | 334.5861
326.5 | 259.9273
327 | 167.1324
327.5 | 74.3375
328 | 209.0332
328.5 | 541.7438
329 | 151.2139
329.5 | 133.0777
330 | -191.2603
330.5 | -515.5984
331 | -267.7627
331.5 | -19.9271
332 | -609.5405
332.5 | -613.9063
333 | -454.4692
333.5 | -510.9117
334 | -261.1523
334.5 | 202.1238
335 | 111.3623
335.5 | 20.6009
336 | 511.2641
336.5 | 416.6797
337 | 158.2924
337.5 | 115.7847
338 | 73.277
338.5 | -182.7474
339 | -438.7718
339.5 | -36.833
340 | 89.6901
340.5 | 216.2131
341 | 331.9877
341.5 | 118.5811
342 | -94.8256
342.5 | 685.405
343 | 677.8357
343.5 | -19.2136
344 | -184.8227
344.5 | -350.4318
345 | -505.2925
345.5 | -330.972
346 | 378.2856
346.5 | 93.9059
347 | -279.625
347.5 | -621.6391
348 | 185.4242
348.5 | -421.4704
349 | -314.1403
349.5 | -206.8103
350 | -400.5751
350.5 | -594.3398
351 | 88.8465
351.5 | 772.0329
352 | -692.7525
352.5 | 61.7518
353 | 102.0314
353.5 | 142.311
354 | 80.263
354.5 | 18.2149
355 | -43.8331
355.5 | -105.8812
356 | 830.965
356.5 | 630.245
357 | 429.525
357.5 | 228.8051
358 | -103.4294
358.5 | 7.7487
359 | 118.9269
359.5 | 230.105
360 | -217.9567
360.5 | -529.0865
361 | -318.8542
361.5 | -108.6218
362 | 27.1434
362.5 | -280.504
363 | -530.5674
363.5 | -780.6308
364 | -471.4543
364.5 | 231.2167
365 | 412.5256
365.5 | 593.8345
366 | -37.5283
366.5 | 764.3746
367 | 748.1367
367.5 | 731.8987
368 | 715.6607
368.5 | 501.2308
369 | 286.8008
369.5 | 72.3709
370 | 511.1009
370.5 | -292.769
371 | -404.0317
371.5 | -515.2945
372 | -626.5573
372.5 | -96.7694
373 | -595.7952
373.5 | -353.9445
374 | 121.8849
374.5 | -466.1852
375 | -338.4281
375.5 | -210.6711
376 | 354.5149
376.5 | -168.4313
377 | 337.436
377.5 | -41.6125
378 | -420.661
378.5 | 73.5242
379 | 116.4557
379.5 | 395.825
380 | -82.5099
380.5 | -73.5416
381 | -64.5733
381.5 | 88.4344
382 | 241.4421
382.5 | 394.4498
383 | 350.8339
383.5 | 40.2946
384 | 50.0305
384.5 | 19.5449
385 | -10.9407
385.5 | -141.3749
386 | -271.809
386.5 | -264.1597
387 | -256.5103
387.5 | -218.3753
388 | -180.2403
388.5 | -142.1053
389 | -103.9704
389.5 | 34.1132
390 | 36.4776
390.5 | 63.4618
391 | 90.446
391.5 | 117.4301
392 | 144.4143
392.5 | 118.6784
393 | 20.5321
393.5 | -77.6142
394 | 39.8966
394.5 | -12.7563
395 | -65.4091
395.5 | -118.062
396 | -170.7148
396.5 | -170.6476
397 | -94.0259
397.5 | -17.4041
398 | -20.7204

## Mixtures
Wavelength (nm) | Mix: X 10, Y 10, Z 10 | Mix: X 20, Y 10, Z 10 | Mix: X 6, Y 6, Z 18 | Mix: X 10, Y 20, Z 10 | Mix: X 12, Y 8, Z 6
200 | 0.004149 | 0.007098 | 0.00174 | 0.003086 | 0.004376
200.5 | 0.004074 | 0.008093 | 0.002046 | 0.004135 | 0.004371
201 | 0.004624 | 0.009033 | 0.002479 | 0.004525 | 0.005678
201.5 | 0.005417 | 0.009703 | 0.003432 | 0.005283 | 0.00641
202 | 0.005858 | 0.010791 | 0.003088 | 0.005165 | 0.005978
202.5 | 0.006964 | 0.012731 | 0.003513 | 0.006818 | 0.007039
203 | 0.006635 | 0.014238 | 0.00423 | 0.007161 | 0.008496
203.5 | 0.00828 | 0.016449 | 0.005455 | 0.007482 | 0.009292
204 | 0.00886 | 0.017225 | 0.005096 | 0.008316 | 0.010482
204.5 | 0.010336 | 0.019591 | 0.005805 | 0.009336 | 0.011323
205 | 0.011411 | 0.021641 | 0.006842 | 0.010668 | 0.013305
205.5 | 0.012456 | 0.023831 | 0.00757 | 0.01263 | 0.014674
206 | 0.013184 | 0.025967 | 0.008484 | 0.013827 | 0.015929
206.5 | 0.014614 | 0.028686 | 0.008995 | 0.014686 | 0.018034
207 | 0.016438 | 0.0331 | 0.009825 | 0.01625 | 0.019599
207.5 | 0.017862 | 0.035433 | 0.010728 | 0.018943 | 0.021056
208 | 0.019129 | 0.040028 | 0.01255 | 0.020383 | 0.023705
208.5 | 0.021295 | 0.04339 | 0.013592 | 0.021709 | 0.025512
209 | 0.024152 | 0.047063 | 0.015209 | 0.024147 | 0.028776
209.5 | 0.025915 | 0.052035 | 0.016533 | 0.02639 | 0.031135
210 | 0.028712 | 0.056144 | 0.018668 | 0.029167 | 0.034025
210.5 | 0.031527 | 0.061827 | 0.020069 | 0.032201 | 0.036996
211 | 0.033876 | 0.067681 | 0.02176 | 0.034694 | 0.041162
211.5 | 0.037384 | 0.07387 | 0.023712 | 0.038128 | 0.044263
212 | 0.041419 | 0.080035 | 0.025641 | 0.041619 | 0.048065
212.5 | 0.045015 | 0.086775 | 0.027998 | 0.045361 | 0.052277
213 | 0.048487 | 0.094529 | 0.030498 | 0.048708 | 0.057093
213.5 | 0.052574 | 0.10253 | 0.033882 | 0.053053 | 0.061781
214 | 0.056621 | 0.11072 | 0.036025 | 0.058393 | 0.066858
214.5 | 0.061355 | 0.11972 | 0.038878 | 0.062284 | 0.072236
215 | 0.066565 | 0.12961 | 0.042426 | 0.067429 | 0.078613
215.5 | 0.070839 | 0.13974 | 0.046036 | 0.072966 | 0.083619
216 | 0.076781 | 0.15028 | 0.048926 | 0.078258 | 0.089941
216.5 | 0.082633 | 0.16056 | 0.052294 | 0.08437 | 0.096533
217 | 0.089228 | 0.17241 | 0.057195 | 0.091581 | 0.10417
217.5 | 0.094952 | 0.18509 | 0.062024 | 0.09817 | 0.1118
218 | 0.10292 | 0.19789 | 0.065889 | 0.10432 | 0.1191
218.5 | 0.10901 | 0.21185 | 0.071217 | 0.11227 | 0.12697
219 | 0.11759 | 0.2253 | 0.07615 | 0.1196 | 0.13551
219.5 | 0.12459 | 0.24038 | 0.081608 | 0.12777 | 0.145
220 | 0.13283 | 0.25511 | 0.086654 | 0.13705 | 0.15432
220.5 | 0.14197 | 0.27095 | 0.092617 | 0.14673 | 0.16388
221 | 0.14949 | 0.28756 | 0.099523 | 0.15558 | 0.17342
221.5 | 0.1597 | 0.30522 | 0.10556 | 0.16611 | 0.18416
222 | 0.16969 | 0.32168 | 0.11096 | 0.17543 | 0.19485
222.5 | 0.17858 | 0.34036 | 0.11944 | 0.18666 | 0.20597
223 | 0.18952 | 0.35888 | 0.12699 | 0.19783 | 0.21766
223.5 | 0.19961 | 0.37854 | 0.13362 | 0.20944 | 0.22916
224 | 0.21114 | 0.39869 | 0.14189 | 0.22186 | 0.24141
224.5 | 0.22194 | 0.4188 | 0.14935 | 0.23417 | 0.25354
225 | 0.23411 | 0.43946 | 0.15812 | 0.24663 | 0.2663
225.5 | 0.2454 | 0.45979 | 0.16684 | 0.25965 | 0.27936
226 | 0.25757 | 0.48193 | 0.17554 | 0.27373 | 0.29171
226.5 | 0.27014 | 0.50413 | 0.18543 | 0.28812 | 0.30557
227 | 0.28263 | 0.52577 | 0.19484 | 0.30251 | 0.31913
227.5 | 0.29659 | 0.5485 | 0.20471 | 0.31712 | 0.33286
228 | 0.30953 | 0.57005 | 0.21491 | 0.33243 | 0.34697
228.5 | 0.32324 | 0.59334 | 0.22405 | 0.34925 | 0.36177
229 | 0.33685 | 0.61648 | 0.23569 | 0.3652 | 0.37502
229.5 | 0.35082 | 0.63891 | 0.24579 | 0.3814 | 0.39002
230 | 0.36385 | 0.66138 | 0.25738 | 0.39871 | 0.40328
230.5 | 0.3786 | 0.68416 | 0.26889 | 0.41597 | 0.41816
231 | 0.39268 | 0.70713 | 0.28005 | 0.43325 | 0.43269
231.5 | 0.40713 | 0.73011 | 0.29234 | 0.45104 | 0.44714
232 | 0.42159 | 0.75214 | 0.30375 | 0.46984 | 0.46139
232.5 | 0.43548 | 0.77451 | 0.3163 | 0.48816 | 0.47553
233 | 0.45006 | 0.79615 | 0.3292 | 0.50709 | 0.48903
233.5 | 0.46429 | 0.81789 | 0.34099 | 0.52584 | 0.50277
234 | 0.48013 | 0.83919 | 0.35414 | 0.54467 | 0.51689
234.5 | 0.49413 | 0.8598 | 0.36627 | 0.5637 | 0.52982
235 | 0.50821 | 0.88003 | 0.37994 | 0.58322 | 0.54248
235.5 | 0.52287 | 0.89976 | 0.39216 | 0.60272 | 0.55532
236 | 0.53666 | 0.91894 | 0.40558 | 0.62268 | 0.56788
236.5 | 0.55061 | 0.93685 | 0.41849 | 0.64251 | 0.58056
237 | 0.56465 | 0.9537 | 0.43249 | 0.66269 | 0.59215
237.5 | 0.57831 | 0.97143 | 0.44524 | 0.68258 | 0.60369
238 | 0.59144 | 0.98694 | 0.45868 | 0.7018 | 0.61413
238.5 | 0.60445 | 1.0026 | 0.47224 | 0.72167 | 0.62479
239 | 0.61777 | 1.0166 | 0.4857 | 0.74065 | 0.63492
239.5 | 0.63131 | 1.0304 | 0.49869 | 0.7603 | 0.64399
240 | 0.64237 | 1.0428 | 0.51141 | 0.7794 | 0.65321
240.5 | 0.65479 | 1.0538 | 0.52501 | 0.79891 | 0.66113
241 | 0.66616 | 1.0652 | 0.53756 | 0.8174 | 0.66906
241.5 | 0.67656 | 1.0741 | 0.54977 | 0.83575 | 0.67629
242 | 0.68654 | 1.0828 | 0.56302 | 0.85412 | 0.6826
242.5 | 0.69711 | 1.0908 | 0.5741 | 0.87104 | 0.68931
243 | 0.70708 | 1.0966 | 0.58639 | 0.88895 | 0.69435
243.5 | 0.71654 | 1.1025 | 0.59866 | 0.90587 | 0.69935
244 | 0.72474 | 1.1073 | 0.60982 | 0.92232 | 0.70371
244.5 | 0.73253 | 1.1105 | 0.62079 | 0.9369 | 0.70724
245 | 0.74098 | 1.1128 | 0.63117 | 0.95209 | 0.71023
245.5 | 0.74722 | 1.1146 | 0.64124 | 0.96565 | 0.71219
246 | 0.75344 | 1.1147 | 0.65141 | 0.98046 | 0.7137
246.5 | 0.75935 | 1.1137 | 0.66125 | 0.99253 | 0.71484
247 | 0.76347 | 1.1119 | 0.66987 | 1.0045 | 0.71457
247.5 | 0.76903 | 1.1093 | 0.67805 | 1.0148 | 0.71443
248 | 0.77165 | 1.1059 | 0.6865 | 1.0254 | 0.71363
248.5 | 0.77535 | 1.1022 | 0.69502 | 1.0344 | 0.71232
249 | 0.77728 | 1.096 | 0.70151 | 1.0424 | 0.71086
249.5 | 0.7795 | 1.0904 | 0.70836 | 1.0495 | 0.70776
250 | 0.78142 | 1.083 | 0.71334 | 1.0558 | 0.70485
250.5 | 0.78226 | 1.0762 | 0.71847 | 1.0609 | 0.70187
251 | 0.78185 | 1.0678 | 0.72291 | 1.0646 | 0.69707
251.5 | 0.78097 | 1.0593 | 0.7278 | 1.0688 | 0.6929
252 | 0.77858 | 1.0487 | 0.73007 | 1.0701 | 0.68717
252.5 | 0.77825 | 1.0391 | 0.73305 | 1.0709 | 0.682
253 | 0.7747 | 1.0288 | 0.73538 | 1.0706 | 0.67586
253.5 | 0.77191 | 1.0171 | 0.73594 | 1.0691 | 0.66991
254 | 0.76817 | 1.0062 | 0.73701 | 1.0667 | 0.66389
254.5 | 0.76388 | 0.99447 | 0.73699 | 1.0635 | 0.65609
255 | 0.75828 | 0.98327 | 0.73671 | 1.0586 | 0.64995
255.5 | 0.7535 | 0.97075 | 0.73582 | 1.0537 | 0.64267
256 | 0.74809 | 0.95894 | 0.73347 | 1.0466 | 0.63499
256.5 | 0.7413 | 0.9471 | 0.73157 | 1.0398 | 0.62718
257 | 0.73527 | 0.93525 | 0.72815 | 1.0307 | 0.62024
257.5 | 0.72819 | 0.92297 | 0.72482 | 1.022 | 0.61242
258 | 0.72041 | 0.91114 | 0.72065 | 1.0122 | 0.60516
258.5 | 0.71377 | 0.89991 | 0.71578 | 1.0018 | 0.59754
259 | 0.706 | 0.88909 | 0.71034 | 0.99043 | 0.59072
259.5 | 0.69881 | 0.87827 | 0.70518 | 0.9775 | 0.58264
260 | 0.6901 | 0.86796 | 0.69908 | 0.96505 | 0.57512
260.5 | 0.68243 | 0.85734 | 0.6935 | 0.95281 | 0.56858
261 | 0.67382 | 0.84848 | 0.68624 | 0.93848 | 0.56176
261.5 | 0.66582 | 0.83791 | 0.67889 | 0.92405 | 0.5556
262 | 0.65616 | 0.82908 | 0.67049 | 0.91077 | 0.54901
262.5 | 0.64861 | 0.82171 | 0.66323 | 0.89595 | 0.54268
263 | 0.63981 | 0.81401 | 0.65476 | 0.88039 | 0.53725
263.5 | 0.63196 | 0.80707 | 0.64581 | 0.8656 | 0.53057
264 | 0.62322 | 0.80049 | 0.63742 | 0.85116 | 0.52543
264.5 | 0.61505 | 0.79442 | 0.62785 | 0.83523 | 0.52021
265 | 0.60681 | 0.78899 | 0.61852 | 0.81989 | 0.51557
265.5 | 0.59888 | 0.78292 | 0.60876 | 0.80466 | 0.51055
266 | 0.59034 | 0.77831 | 0.59871 | 0.79009 | 0.50693
266.5 | 0.58274 | 0.77354 | 0.58962 | 0.77375 | 0.50236
267 | 0.57466 | 0.76903 | 0.57855 | 0.75948 | 0.4978
267.5 | 0.5667 | 0.76479 | 0.569 | 0.74447 | 0.49405
268 | 0.55862 | 0.76121 | 0.55806 | 0.72988 | 0.49076
268.5 | 0.55155 | 0.75623 | 0.54817 | 0.71546 | 0.48722
269 | 0.54357 | 0.75268 | 0.53722 | 0.70091 | 0.48396
269.5 | 0.53583 | 0.74904 | 0.52738 | 0.68711 | 0.48061
270 | 0.52854 | 0.74416 | 0.51614 | 0.67333 | 0.47587
270.5 | 0.52023 | 0.73983 | 0.50547 | 0.66029 | 0.47149
271 | 0.51289 | 0.73504 | 0.49454 | 0.64578 | 0.46713
271.5 | 0.50495 | 0.72999 | 0.48378 | 0.6339 | 0.46406
272 | 0.4978 | 0.72403 | 0.47295 | 0.62167 | 0.45944
272.5 | 0.48997 | 0.71933 | 0.46295 | 0.6092 | 0.45524
273 | 0.48195 | 0.71237 | 0.4517 | 0.5988 | 0.4506
273.5 | 0.47447 | 0.70598 | 0.44046 | 0.58746 | 0.44603
274 | 0.46688 | 0.69856 | 0.43064 | 0.57608 | 0.44153
274.5 | 0.45877 | 0.69041 | 0.41956 | 0.56663 | 0.43595
275 | 0.45183 | 0.68204 | 0.40919 | 0.55755 | 0.43039
275.5 | 0.44398 | 0.67291 | 0.39877 | 0.54841 | 0.42437
276 | 0.43625 | 0.66388 | 0.38756 | 0.53976 | 0.41823
276.5 | 0.4293 | 0.65314 | 0.37752 | 0.53257 | 0.41262
277 | 0.42073 | 0.64284 | 0.36775 | 0.52534 | 0.40651
277.5 | 0.41408 | 0.63219 | 0.35849 | 0.51838 | 0.40078
278 | 0.40658 | 0.61994 | 0.34851 | 0.51278 | 0.39351
278.5 | 0.39937 | 0.60876 | 0.33793 | 0.50813 | 0.3871
279 | 0.39238 | 0.59575 | 0.32867 | 0.50346 | 0.37964
279.5 | 0.38516 | 0.58389 | 0.32086 | 0.49858 | 0.37241
280 | 0.37915 | 0.57139 | 0.31153 | 0.49524 | 0.36548
280.5 | 0.37162 | 0.55776 | 0.30334 | 0.49309 | 0.35851
281 | 0.36532 | 0.54441 | 0.29512 | 0.49033 | 0.35256
281.5 | 0.35929 | 0.53129 | 0.28585 | 0.4881 | 0.34427
282 | 0.35403 | 0.51864 | 0.27917 | 0.48632 | 0.33784
282.5 | 0.34769 | 0.50527 | 0.27125 | 0.48519 | 0.33005
283 | 0.34189 | 0.49148 | 0.26397 | 0.48438 | 0.32373
283.5 | 0.33543 | 0.47806 | 0.25776 | 0.48215 | 0.31648
284 | 0.33019 | 0.46482 | 0.25011 | 0.4825 | 0.30926
284.5 | 0.32477 | 0.4518 | 0.24322 | 0.48087 | 0.30234
285 | 0.31869 | 0.43883 | 0.23642 | 0.47965 | 0.29514
285.5 | 0.31296 | 0.4258 | 0.2314 | 0.47861 | 0.28865
286 | 0.30834 | 0.41258 | 0.22482 | 0.47682 | 0.28136
286.5 | 0.3017 | 0.39956 | 0.21801 | 0.47481 | 0.27412
287 | 0.29604 | 0.38666 | 0.21261 | 0.47266 | 0.26715
287.5 | 0.29005 | 0.37564 | 0.20681 | 0.46933 | 0.26075
288 | 0.28438 | 0.36242 | 0.20006 | 0.46606 | 0.25429
288.5 | 0.27804 | 0.35 | 0.19521 | 0.46052 | 0.24663
289 | 0.27222 | 0.33731 | 0.18894 | 0.45608 | 0.23937
289.5 | 0.26422 | 0.32553 | 0.18389 | 0.4491 | 0.2323
290 | 0.25778 | 0.31342 | 0.17737 | 0.44258 | 0.22539
290.5 | 0.25086 | 0.3013 | 0.17177 | 0.43443 | 0.21754
291 | 0.24351 | 0.28929 | 0.16502 | 0.42609 | 0.20979
291.5 | 0.23605 | 0.27746 | 0.15964 | 0.4155 | 0.2028
292 | 0.22847 | 0.2655 | 0.15367 | 0.40545 | 0.19486
292.5 | 0.22032 | 0.25335 | 0.14891 | 0.39463 | 0.18755
293 | 0.21207 | 0.24207 | 0.14205 | 0.38235 | 0.1792
293.5 | 0.20284 | 0.22983 | 0.13624 | 0.36887 | 0.17078
294 | 0.19476 | 0.21787 | 0.12984 | 0.35576 | 0.16284
294.5 | 0.18632 | 0.20811 | 0.12393 | 0.34182 | 0.15616
295 | 0.17697 | 0.19592 | 0.11831 | 0.32707 | 0.14832
295.5 | 0.16886 | 0.18499 | 0.11336 | 0.31243 | 0.13973
296 | 0.15961 | 0.17515 | 0.10629 | 0.29717 | 0.13191
296.5 | 0.15122 | 0.16407 | 0.10151 | 0.28054 | 0.125
297 | 0.14277 | 0.15363 | 0.095832 | 0.26625 | 0.11645
297.5 | 0.13397 | 0.14342 | 0.089833 | 0.252 | 0.10918
298 | 0.12522 | 0.1342 | 0.084721 | 0.23516 | 0.10261
298.5 | 0.11728 | 0.12415 | 0.079747 | 0.22011 | 0.09523
299 | 0.10937 | 0.11585 | 0.073995 | 0.20547 | 0.08865
299.5 | 0.10183 | 0.10733 | 0.069516 | 0.19073 | 0.082104
300 | 0.094259 | 0.09877 | 0.064815 | 0.17696 | 0.076095
300.5 | 0.087894 | 0.090143 | 0.06076 | 0.1636 | 0.070603
301 | 0.080566 | 0.084583 | 0.057116 | 0.15154 | 0.064457
301.5 | 0.073818 | 0.077163 | 0.053997 | 0.13838 | 0.059372
302 | 0.067701 | 0.070908 | 0.049954 | 0.12706 | 0.053307
302.5 | 0.063412 | 0.065147 | 0.046631 | 0.11579 | 0.049443
303 | 0.057741 | 0.059274 | 0.04257 | 0.10523 | 0.044786
303.5 | 0.052304 | 0.054821 | 0.041309 | 0.095757 | 0.040619
304 | 0.047683 | 0.049624 | 0.038109 | 0.086698 | 0.037057
304.5 | 0.044517 | 0.044835 | 0.036534 | 0.0795 | 0.033889
305 | 0.040576 | 0.041169 | 0.034605 | 0.071363 | 0.031307
305.5 | 0.03704 | 0.037315 | 0.033283 | 0.064053 | 0.027621
306 | 0.033444 | 0.034584 | 0.031157 | 0.058433 | 0.025657
306.5 | 0.031724 | 0.03104 | 0.030291 | 0.053685 | 0.023213
307 | 0.028845 | 0.029262 | 0.02923 | 0.047997 | 0.021291
307.5 | 0.025794 | 0.027035 | 0.028331 | 0.043456 | 0.020079
308 | 0.025227 | 0.025661 | 0.028297 | 0.039688 | 0.018373
308.5 | 0.023764 | 0.02396 | 0.027431 | 0.036015 | 0.017383
309 | 0.022608 | 0.022876 | 0.027292 | 0.03281 | 0.01567
309.5 | 0.02119 | 0.020712 | 0.027628 | 0.031211 | 0.014517
310 | 0.020113 | 0.020271 | 0.027971 | 0.027234 | 0.013934
310.5 | 0.0199 | 0.02093 | 0.026547 | 0.026554 | 0.013499
311 | 0.019281 | 0.020141 | 0.028244 | 0.024944 | 0.012988
311.5 | 0.01918 | 0.019317 | 0.028715 | 0.024045 | 0.012124
312 | 0.019749 | 0.019677 | 0.030585 | 0.022927 | 0.012347
312.5 | 0.019007 | 0.019255 | 0.028644 | 0.023001 | 0.012256
313 | 0.01876 | 0.019625 | 0.031119 | 0.022716 | 0.013117
313.5 | 0.018745 | 0.01912 | 0.032134 | 0.021886 | 0.012889
314 | 0.020144 | 0.019998 | 0.032947 | 0.021224 | 0.011898
314.5 | 0.020106 | 0.019796 | 0.034754 | 0.021485 | 0.012291
315 | 0.020973 | 0.020497 | 0.035491 | 0.02182 | 0.012046
315.5 | 0.02117 | 0.021569 | 0.036708 | 0.021908 | 0.012673
316 | 0.021261 | 0.021339 | 0.037176 | 0.022179 | 0.013361
316.5 | 0.02197 | 0.02236 | 0.039627 | 0.023868 | 0.014085
317 | 0.022944 | 0.023177 | 0.041156 | 0.024132 | 0.013717
317.5 | 0.024205 | 0.024073 | 0.043119 | 0.024027 | 0.014187
318 | 0.024453 | 0.024872 | 0.044128 | 0.024785 | 0.01406
318.5 | 0.025533 | 0.024625 | 0.046436 | 0.02594 | 0.015353
319 | 0.026624 | 0.02585 | 0.048217 | 0.026482 | 0.015518
319.5 | 0.027344 | 0.02679 | 0.048847 | 0.027857 | 0.01628
320 | 0.02862 | 0.028616 | 0.051406 | 0.028866 | 0.016712
320.5 | 0.029631 | 0.02997 | 0.052255 | 0.02953 | 0.017615
321 | 0.030509 | 0.03031 | 0.054028 | 0.030142 | 0.017559
321.5 | 0.031057 | 0.031419 | 0.056873 | 0.031416 | 0.018302
322 | 0.032869 | 0.033218 | 0.058752 | 0.031948 | 0.020384
322.5 | 0.033589 | 0.033823 | 0.060443 | 0.033543 | 0.019676
323 | 0.034722 | 0.034606 | 0.062144 | 0.035522 | 0.020426
323.5 | 0.036223 | 0.036431 | 0.064068 | 0.035723 | 0.022287
324 | 0.037147 | 0.036422 | 0.066801 | 0.037377 | 0.023414
324.5 | 0.03873 | 0.037927 | 0.068647 | 0.038772 | 0.022497
325 | 0.038852 | 0.040402 | 0.071438 | 0.040139 | 0.023543
325.5 | 0.04133 | 0.041047 | 0.073681 | 0.040193 | 0.024564
326 | 0.041819 | 0.041561 | 0.075031 | 0.041885 | 0.025866
326.5 | 0.043492 | 0.043329 | 0.077661 | 0.043003 | 0.025536
327 | 0.044965 | 0.044278 | 0.079782 | 0.045045 | 0.0266
327.5 | 0.045902 | 0.04595 | 0.082387 | 0.046229 | 0.027784
328 | 0.046833 | 0.047104 | 0.084574 | 0.046678 | 0.028431
328.5 | 0.04846 | 0.048521 | 0.086662 | 0.048197 | 0.028897
329 | 0.05014 | 0.049644 | 0.089051 | 0.04989 | 0.029792
329.5 | 0.050974 | 0.05077 | 0.091572 | 0.051908 | 0.0301
330 | 0.052173 | 0.052229 | 0.094233 | 0.052291 | 0.031364
330.5 | 0.053416 | 0.053876 | 0.095904 | 0.054282 | 0.032168
331 | 0.055303 | 0.055228 | 0.099039 | 0.054825 | 0.033186
331.5 | 0.056476 | 0.0564 | 0.10214 | 0.056039 | 0.033693
332 | 0.0579 | 0.057822 | 0.10437 | 0.058229 | 0.034928
332.5 | 0.059805 | 0.059399 | 0.10639 | 0.058968 | 0.03597
333 | 0.060755 | 0.061076 | 0.10843 | 0.060033 | 0.036454
333.5 | 0.061691 | 0.062631 | 0.11242 | 0.062533 | 0.03736
334 | 0.063356 | 0.063396 | 0.11444 | 0.063653 | 0.038066
334.5 | 0.064499 | 0.06488 | 0.11705 | 0.064272 | 0.038869
335 | 0.06598 | 0.065485 | 0.11905 | 0.066495 | 0.039402
335.5 | 0.067169 | 0.067208 | 0.1215 | 0.067689 | 0.040636
336 | 0.069278 | 0.069155 | 0.12346 | 0.069095 | 0.041284
336.5 | 0.070313 | 0.070497 | 0.12576 | 0.069794 | 0.042968
337 | 0.07183 | 0.071589 | 0.12873 | 0.071389 | 0.043562
337.5 | 0.071868 | 0.073154 | 0.13131 | 0.072028 | 0.043882
338 | 0.074291 | 0.073778 | 0.1335 | 0.073337 | 0.044208
338.5 | 0.075342 | 0.076259 | 0.13548 | 0.075805 | 0.044845
339 | 0.0769 | 0.076107 | 0.13773 | 0.076574 | 0.046534
339.5 | 0.077633 | 0.078602 | 0.14046 | 0.078103 | 0.046918
340 | 0.07972 | 0.079316 | 0.14283 | 0.079169 | 0.047748
340.5 | 0.080809 | 0.080224 | 0.14467 | 0.080265 | 0.047588
341 | 0.08184 | 0.081534 | 0.14649 | 0.081464 | 0.049373
341.5 | 0.082599 | 0.082703 | 0.14943 | 0.083033 | 0.049885
342 | 0.083652 | 0.084453 | 0.15127 | 0.083882 | 0.049944
342.5 | 0.085416 | 0.085611 | 0.15242 | 0.084476 | 0.050868
343 | 0.085433 | 0.085681 | 0.15468 | 0.086624 | 0.051812
343.5 | 0.087286 | 0.087377 | 0.15749 | 0.087784 | 0.052359
344 | 0.088704 | 0.087999 | 0.15876 | 0.088554 | 0.052833
344.5 | 0.088869 | 0.089238 | 0.16 | 0.089826 | 0.0535
345 | 0.090683 | 0.090508 | 0.1623 | 0.090258 | 0.05401
345.5 | 0.091355 | 0.090873 | 0.16406 | 0.091107 | 0.05472
346 | 0.091613 | 0.091662 | 0.16571 | 0.092424 | 0.055772
346.5 | 0.092848 | 0.092648 | 0.16683 | 0.093023 | 0.054658
347 | 0.093433 | 0.093599 | 0.16825 | 0.093127 | 0.056067
347.5 | 0.093627 | 0.094569 | 0.16973 | 0.094284 | 0.056683
348 | 0.096133 | 0.09496 | 0.17125 | 0.095099 | 0.057157
348.5 | 0.095728 | 0.095377 | 0.17233 | 0.096603 | 0.057289
349 | 0.09681 | 0.096023 | 0.17391 | 0.096367 | 0.057107
349.5 | 0.097211 | 0.097053 | 0.17348 | 0.096616 | 0.058285
350 | 0.097805 | 0.098063 | 0.17499 | 0.097017 | 0.059161
350.5 | 0.097277 | 0.097964 | 0.17625 | 0.097864 | 0.058144
351 | 0.098604 | 0.098902 | 0.17714 | 0.098102 | 0.059362
351.5 | 0.09878 | 0.098028 | 0.17833 | 0.098692 | 0.059114
352 | 0.098743 | 0.098945 | 0.17844 | 0.098669 | 0.05942
352.5 | 0.099395 | 0.10009 | 0.1787 | 0.098707 | 0.059193
353 | 0.1003 | 0.099675 | 0.17838 | 0.09947 | 0.059619
353.5 | 0.099388 | 0.10016 | 0.17953 | 0.099901 | 0.060381
354 | 0.099119 | 0.10015 | 0.17971 | 0.099938 | 0.060171
354.5 | 0.099683 | 0.099909 | 0.18037 | 0.099359 | 0.060677
355 | 0.10002 | 0.099956 | 0.17987 | 0.099873 | 0.060471
355.5 | 0.10036 | 0.099946 | 0.17984 | 0.10028 | 0.06016
356 | 0.099841 | 0.099642 | 0.1794 | 0.1 | 0.060636
356.5 | 0.10023 | 0.10004 | 0.1792 | 0.099505 | 0.060036
357 | 0.10069 | 0.10012 | 0.1793 | 0.099397 | 0.060084
357.5 | 0.09944 | 0.099092 | 0.17866 | 0.099166 | 0.059495
358 | 0.099774 | 0.099024 | 0.17791 | 0.09915 | 0.059471
358.5 | 0.098577 | 0.098305 | 0.17737 | 0.098585 | 0.058967
359 | 0.098488 | 0.098409 | 0.17702 | 0.098532 | 0.059412
359.5 | 0.097736 | 0.098198 | 0.17622 | 0.097989 | 0.058287
360 | 0.097802 | 0.097708 | 0.17569 | 0.097503 | 0.058783
360.5 | 0.096302 | 0.09669 | 0.17389 | 0.097228 | 0.058078
361 | 0.096814 | 0.096787 | 0.1736 | 0.096677 | 0.058278
361.5 | 0.095337 | 0.095356 | 0.17278 | 0.095562 | 0.057738
362 | 0.095326 | 0.094746 | 0.17085 | 0.09494 | 0.057767
362.5 | 0.094157 | 0.094723 | 0.16959 | 0.094713 | 0.056905
363 | 0.093471 | 0.093485 | 0.16888 | 0.093475 | 0.055533
363.5 | 0.092871 | 0.092624 | 0.16595 | 0.092308 | 0.055658
364 | 0.091929 | 0.092133 | 0.16545 | 0.091734 | 0.054715
364.5 | 0.090902 | 0.091372 | 0.16363 | 0.090667 | 0.054452
365 | 0.089608 | 0.091317 | 0.16312 | 0.090164 | 0.054716
365.5 | 0.089818 | 0.089484 | 0.16117 | 0.089267 | 0.053796
366 | 0.088334 | 0.087556 | 0.15922 | 0.088773 | 0.05267
366.5 | 0.087181 | 0.087387 | 0.15731 | 0.087391 | 0.051933
367 | 0.086216 | 0.086126 | 0.1554 | 0.08641 | 0.05172
367.5 | 0.084779 | 0.085603 | 0.15365 | 0.085678 | 0.05057
368 | 0.083804 | 0.083215 | 0.15138 | 0.084272 | 0.05012
368.5 | 0.082684 | 0.083268 | 0.14936 | 0.082482 | 0.049828
369 | 0.081369 | 0.081045 | 0.14675 | 0.081631 | 0.049464
369.5 | 0.080593 | 0.081129 | 0.14428 | 0.080208 | 0.04853
370 | 0.079342 | 0.079116 | 0.14206 | 0.079173 | 0.046639
370.5 | 0.078116 | 0.078106 | 0.14058 | 0.078483 | 0.046934
371 | 0.07629 | 0.076433 | 0.13824 | 0.077888 | 0.046086
371.5 | 0.075289 | 0.074852 | 0.13617 | 0.075799 | 0.045456
372 | 0.073957 | 0.074038 | 0.1329 | 0.074279 | 0.04516
372.5 | 0.072473 | 0.073787 | 0.13161 | 0.072583 | 0.042902
373 | 0.07211 | 0.071472 | 0.12858 | 0.071654 | 0.042696
373.5 | 0.070174 | 0.070004 | 0.12581 | 0.070829 | 0.042367
374 | 0.069542 | 0.068575 | 0.12434 | 0.068554 | 0.04069
374.5 | 0.067942 | 0.068258 | 0.12138 | 0.067678 | 0.041099
375 | 0.065788 | 0.066532 | 0.11859 | 0.066474 | 0.039838
375.5 | 0.064569 | 0.064782 | 0.11682 | 0.065156 | 0.039208
376 | 0.063118 | 0.063455 | 0.11431 | 0.06435 | 0.037816
376.5 | 0.062293 | 0.06162 | 0.11144 | 0.062032 | 0.037544
377 | 0.060305 | 0.060818 | 0.1093 | 0.060749 | 0.036819
377.5 | 0.05916 | 0.059368 | 0.10713 | 0.05886 | 0.035658
378 | 0.057312 | 0.057587 | 0.10404 | 0.057709 | 0.034833
378.5 | 0.05646 | 0.056251 | 0.1021 | 0.056151 | 0.034022
379 | 0.055186 | 0.055663 | 0.099085 | 0.055187 | 0.032747
379.5 | 0.053953 | 0.054168 | 0.096293 | 0.053961 | 0.032215
380 | 0.052149 | 0.052437 | 0.094323 | 0.052699 | 0.031398
380.5 | 0.050594 | 0.051594 | 0.092172 | 0.05139 | 0.030802
381 | 0.049506 | 0.049863 | 0.089618 | 0.049536 | 0.030244
381.5 | 0.048301 | 0.048051 | 0.087025 | 0.048007 | 0.028623
382 | 0.046964 | 0.046864 | 0.085101 | 0.046687 | 0.028204
382.5 | 0.045722 | 0.045566 | 0.081867 | 0.045664 | 0.028063
383 | 0.044177 | 0.044894 | 0.079859 | 0.044309 | 0.026396
383.5 | 0.043443 | 0.043602 | 0.077791 | 0.042735 | 0.025597
384 | 0.041594 | 0.042389 | 0.075488 | 0.042099 | 0.025248
384.5 | 0.040142 | 0.040588 | 0.073298 | 0.040255 | 0.024756
385 | 0.039277 | 0.039723 | 0.071103 | 0.03941 | 0.023684
385.5 | 0.037991 | 0.039325 | 0.069863 | 0.038009 | 0.023482
386 | 0.036397 | 0.036572 | 0.06602 | 0.037184 | 0.022576
386.5 | 0.035114 | 0.036353 | 0.064562 | 0.036068 | 0.021863
387 | 0.035071 | 0.034557 | 0.063377 | 0.034355 | 0.021054
387.5 | 0.032991 | 0.033736 | 0.060371 | 0.033744 | 0.021081
388 | 0.032732 | 0.03301 | 0.058409 | 0.033255 | 0.019397
388.5 | 0.031289 | 0.030901 | 0.056799 | 0.031548 | 0.01802
389 | 0.030119 | 0.029675 | 0.054482 | 0.029865 | 0.018818
389.5 | 0.029627 | 0.02909 | 0.052902 | 0.03011 | 0.017362
390 | 0.028793 | 0.027929 | 0.050511 | 0.027833 | 0.016969
390.5 | 0.02602 | 0.026756 | 0.048986 | 0.027485 | 0.016845
391 | 0.026508 | 0.026877 | 0.047476 | 0.025789 | 0.015088
391.5 | 0.025428 | 0.025595 | 0.045738 | 0.025543 | 0.01465
392 | 0.024316 | 0.024801 | 0.043868 | 0.02425 | 0.013946
392.5 | 0.022943 | 0.023512 | 0.041932 | 0.023598 | 0.013718
393 | 0.02252 | 0.022925 | 0.040576 | 0.022587 | 0.013675
393.5 | 0.021092 | 0.021119 | 0.037884 | 0.021034 | 0.013186
394 | 0.020691 | 0.02151 | 0.037133 | 0.020138 | 0.012577
394.5 | 0.019918 | 0.0204 | 0.03576 | 0.019616 | 0.011406
395 | 0.018954 | 0.019184 | 0.034412 | 0.019496 | 0.010566
395.5 | 0.018764 | 0.018454 | 0.033614 | 0.018494 | 0.011044
396 | 0.018149 | 0.017526 | 0.031594 | 0.018091 | 0.010379
396.5 | 0.016629 | 0.016171 | 0.030402 | 0.017361 | 0.01031
397 | 0.015941 | 0.016162 | 0.030108 | 0.016843 | 0.00998
397.5 | 0.01574 | 0.015692 | 0.028201 | 0.015097 | 0.00934
398 | 0.01498 | 0.014966 | 0.026592 | 0.014345 | 0.009188
398.5 | 0.013931 | 0.013856 | 0.025336 | 0.013719 | 0.008587
399 | 0.013476 | 0.013569 | 0.024105 | 0.014069 | 0.008332
399.5 | 0.013531 | 0.01249 | 0.023069 | 0.012766 | 0.007475
400 | 0.012983 | 0.012512 | 0.022351 | 0.012466 | 0.007335

## _Calculation
Calibration and determination with Excel formulas
Signal = Amplitude at λ — w1 = 246 (measured by Spectro on the processed spectra)
Change nothing here: the formulas show how Spectro turns signals into concentrations. Compare with the _Expected results sheet.
Standard | X (µg/mL) | Signal
Std: X 4, Y 0, Z 0 | 4 | -4.9217
Std: X 8, Y 0, Z 0 | 8 | -9.7864
Std: X 12, Y 0, Z 0 | 12 | -14.6794
Std: X 16, Y 0, Z 0 | 16 | -19.582
Std: X 20, Y 0, Z 0 | 20 | -24.5857
Std: X 24, Y 0, Z 0 | 24 | -29.4747
Slope
Intercept
Correlation coefficient r
Mixture | X taken (µg/mL) | Signal | Found = (Signal − Intercept) / Slope | Recovery %
Mix: X 10, Y 10, Z 10 | 10 | -12.2234
Mix: X 20, Y 10, Z 10 | 20 | -24.5696
Mix: X 6, Y 6, Z 18 | 6 | -7.3842
Mix: X 10, Y 20, Z 10 | 10 | -12.3117
Mix: X 12, Y 8, Z 6 | 12 | -14.7084
Mean recovery %
RSD %

## _Expected results
What Spectro gives for this example — Successive derivative ratio (ternary)
Compound: X; template: Successive derivative ratio (ternary)
Step: Divide by spectrum (ratio spectrum) (reference=Y′, threshold=0.0001, divisor_derivative=0, divisor_delta_lambda=4)
Step: Derivative (D1–D4) (order=1, method=difference, delta_lambda=4, window=11, polyorder=3, scaling=1)
Step: Divide by spectrum (ratio spectrum) (reference=D1(Z′/Y′), threshold=0.0001, divisor_derivative=0, divisor_delta_lambda=4)
Step: Derivative (D1–D4) (order=1, method=difference, delta_lambda=4, window=11, polyorder=3, scaling=1)
Measurement: Amplitude at λ — w1 = 246
Calibration: slope -1.229, intercept 0.0349, r = -0.99999 (n = 6)
Second divisor: D1 of (Z′ ÷ Y′), made once with Process → pipeline and stored as a derived spectrum.
246.0 nm: best signal-to-noise of the processed X spectrum.
Mixture | X found | X taken | Rec. %
Mix X 10, Y 10, Z 10 | 9.974 | 10 | 99.74
Mix X 20, Y 10, Z 10 | 20.019 | 20 | 100.1
Mix X 6, Y 6, Z 18 | 6.037 | 6 | 100.61
Mix X 10, Y 20, Z 10 | 10.046 | 10 | 100.46
Mix X 12, Y 8, Z 6 | 11.996 | 12 | 99.97
X: mean recovery 100.17 %, RSD 0.36 %