## _Read me
Sample enrichment: spiking and spectrum addition
Family: Standard addition and sample enrichment
The idea in plain words
When one component is far below its linear range, add a known amount of it, measure, and subtract the amount added.
What is in this workbook
• Sheet 'Standards': 5 spectra (wavelength in column A, one spectrum per column; the column title holds the concentrations)
• Sheet 'Divisor': 1 spectrum (wavelength in column A, one spectrum per column; the column title holds the concentrations)
• Sheet 'Samples': 3 spectra (wavelength in column A, one spectrum per column; the column title holds the concentrations)
• Sheet '_Calculation': the calibration and the results done with Excel formulas, so every number can be followed.
• Sheet '_Expected results': what Spectro gives for this example.
• Sheets whose name starts with _ are notes; Spectro does not import them.
How to use it in Spectro
1. File → New project…
2. Edit → Compounds… and add: A, B
3. File → Import spectra… → Add files… → choose this workbook.
4. Press 'Fill concentrations from names'. The Role column is filled from the sheet names (Standards → standard, Mixtures → mixture, …). Press Import.
5. Spiking: Univariate calibration → Enrichment added = amount added → the results get a Found − added column.
6. Spectrum addition: Process → Add spectrum (a stored standard) on the sample, then determine and subtract the added amount.
(In these steps X is the compound being determined and Y, Z the interfering ones — in this workbook the compounds are A, B.)
7. Compare your results with the sheet '_Expected results'.
Settings used in this example
• Compound: B; template: Constant multiplication / SS-CM (extended Y)
• Step: Constant multiplication (recover Y) (divisor=B′, start=310, end=350, divisor_derivative=0, divisor_delta_lambda=4)
• Measurement: Amplitude at λ — w1 = 268
• Calibration: slope 0.028034, intercept -0.000251, r = 1.00000 (n = 5)
• Sample A 20 + B 1 µg/mL (ratio 20 : 1, B below its range) spiked with 5 µg/mL B; 'Found − added' is the B content (true 1 µg/mL).
Checks / common mistakes
Report the content after subtracting the added amount.
The spectra are simulated (Gaussian bands + 0.0004 AU noise) to show the method clearly; they are not measured data. See docs/methods/README.md for the full guide with screenshots.

## Standards
Wavelength (nm) | Std: A 0, B 4 | Std: A 0, B 8 | Std: A 0, B 12 | Std: A 0, B 16 | Std: A 0, B 20
200 | 0.001334 | 0.001826 | 0.002043 | 0.003329 | 0.004122
200.5 | 0.001792 | 0.002283 | 0.00271 | 0.004424 | 0.005118
201 | 0.000256 | 0.002444 | 0.003287 | 0.004445 | 0.006072
201.5 | 0.001447 | 0.002647 | 0.004365 | 0.006269 | 0.007615
202 | 0.002165 | 0.003336 | 0.004352 | 0.007494 | 0.008696
202.5 | 0.002594 | 0.003709 | 0.006082 | 0.00803 | 0.010314
203 | 0.002647 | 0.004796 | 0.006775 | 0.009716 | 0.012266
203.5 | 0.003361 | 0.006061 | 0.008644 | 0.011149 | 0.014154
204 | 0.003302 | 0.006174 | 0.00994 | 0.012585 | 0.016118
204.5 | 0.00388 | 0.007071 | 0.011536 | 0.014293 | 0.018118
205 | 0.004259 | 0.008571 | 0.01287 | 0.015938 | 0.020636
205.5 | 0.004344 | 0.009689 | 0.014299 | 0.019657 | 0.02354
206 | 0.005081 | 0.010881 | 0.016603 | 0.021659 | 0.02696
206.5 | 0.006281 | 0.011887 | 0.018991 | 0.025527 | 0.030627
207 | 0.006673 | 0.013799 | 0.020455 | 0.027952 | 0.034138
207.5 | 0.008258 | 0.015776 | 0.023491 | 0.031107 | 0.038292
208 | 0.009179 | 0.016787 | 0.025969 | 0.034385 | 0.043433
208.5 | 0.010365 | 0.019107 | 0.029511 | 0.039137 | 0.047484
209 | 0.010687 | 0.020635 | 0.031758 | 0.042588 | 0.053417
209.5 | 0.012372 | 0.023122 | 0.035336 | 0.047904 | 0.059265
210 | 0.012645 | 0.025278 | 0.039166 | 0.051869 | 0.064641
210.5 | 0.013932 | 0.028424 | 0.04288 | 0.05711 | 0.07085
211 | 0.015603 | 0.030634 | 0.046056 | 0.061673 | 0.077548
211.5 | 0.017049 | 0.033982 | 0.050954 | 0.068684 | 0.084942
212 | 0.017711 | 0.036765 | 0.055005 | 0.073366 | 0.091703
212.5 | 0.019114 | 0.039537 | 0.059322 | 0.07907 | 0.098283
213 | 0.021436 | 0.041581 | 0.063819 | 0.085499 | 0.1063
213.5 | 0.022459 | 0.045393 | 0.0685 | 0.09086 | 0.11443
214 | 0.02481 | 0.048635 | 0.072255 | 0.097615 | 0.12203
214.5 | 0.026009 | 0.051747 | 0.078174 | 0.10294 | 0.12951
215 | 0.027487 | 0.054116 | 0.081748 | 0.10967 | 0.13673
215.5 | 0.028937 | 0.057516 | 0.085665 | 0.115 | 0.14353
216 | 0.030665 | 0.060222 | 0.090887 | 0.12049 | 0.1516
216.5 | 0.031649 | 0.063096 | 0.095713 | 0.1266 | 0.15848
217 | 0.033484 | 0.066525 | 0.098943 | 0.13162 | 0.16528
217.5 | 0.034104 | 0.068306 | 0.10356 | 0.13748 | 0.17219
218 | 0.0354 | 0.070967 | 0.10709 | 0.14197 | 0.17752
218.5 | 0.036293 | 0.073485 | 0.10935 | 0.14647 | 0.18294
219 | 0.037768 | 0.074825 | 0.1116 | 0.15015 | 0.18789
219.5 | 0.038386 | 0.076698 | 0.11462 | 0.15334 | 0.19175
220 | 0.038738 | 0.07821 | 0.11772 | 0.15634 | 0.19515
220.5 | 0.040458 | 0.07934 | 0.11865 | 0.15905 | 0.19799
221 | 0.039943 | 0.079687 | 0.11966 | 0.16028 | 0.20075
221.5 | 0.040326 | 0.080775 | 0.12058 | 0.16118 | 0.20206
222 | 0.040665 | 0.081557 | 0.12152 | 0.16164 | 0.20234
222.5 | 0.041191 | 0.080364 | 0.12146 | 0.16188 | 0.20292
223 | 0.040269 | 0.081 | 0.12133 | 0.16101 | 0.20171
223.5 | 0.040301 | 0.080087 | 0.12046 | 0.16083 | 0.19956
224 | 0.039611 | 0.078887 | 0.11834 | 0.15782 | 0.1981
224.5 | 0.038405 | 0.078782 | 0.11691 | 0.15553 | 0.1949
225 | 0.038603 | 0.076876 | 0.1144 | 0.15302 | 0.1909
225.5 | 0.037875 | 0.074453 | 0.11243 | 0.15013 | 0.18754
226 | 0.036448 | 0.073118 | 0.10917 | 0.14607 | 0.18258
226.5 | 0.035525 | 0.071293 | 0.10611 | 0.14174 | 0.1775
227 | 0.03384 | 0.068806 | 0.10417 | 0.13744 | 0.17244
227.5 | 0.032678 | 0.066847 | 0.099874 | 0.13301 | 0.16556
228 | 0.031928 | 0.064142 | 0.09651 | 0.12873 | 0.15991
228.5 | 0.031097 | 0.061961 | 0.093556 | 0.123 | 0.15407
229 | 0.029402 | 0.059756 | 0.089085 | 0.11832 | 0.14805
229.5 | 0.028445 | 0.056387 | 0.08494 | 0.11307 | 0.14138
230 | 0.027463 | 0.054233 | 0.081249 | 0.10843 | 0.13498
230.5 | 0.025884 | 0.051507 | 0.07724 | 0.10354 | 0.12881
231 | 0.024882 | 0.049355 | 0.074394 | 0.098022 | 0.12321
231.5 | 0.024085 | 0.046537 | 0.070385 | 0.094978 | 0.1178
232 | 0.021921 | 0.044606 | 0.067962 | 0.089752 | 0.11152
232.5 | 0.021699 | 0.042725 | 0.064067 | 0.085403 | 0.10618
233 | 0.019709 | 0.041286 | 0.061248 | 0.081495 | 0.1022
233.5 | 0.019784 | 0.039681 | 0.058667 | 0.078343 | 0.097906
234 | 0.018935 | 0.037179 | 0.056813 | 0.075429 | 0.093907
234.5 | 0.017979 | 0.036075 | 0.054664 | 0.073024 | 0.091227
235 | 0.017213 | 0.035547 | 0.05348 | 0.070578 | 0.088541
235.5 | 0.017175 | 0.033603 | 0.051379 | 0.068994 | 0.085774
236 | 0.016704 | 0.033551 | 0.05072 | 0.066828 | 0.084202
236.5 | 0.016689 | 0.033261 | 0.050725 | 0.066299 | 0.083477
237 | 0.016184 | 0.033597 | 0.049545 | 0.065785 | 0.082563
237.5 | 0.016778 | 0.033395 | 0.049892 | 0.066305 | 0.082238
238 | 0.016274 | 0.033246 | 0.050694 | 0.066937 | 0.083415
238.5 | 0.01681 | 0.033716 | 0.051017 | 0.067141 | 0.084298
239 | 0.017133 | 0.034479 | 0.051614 | 0.069091 | 0.086577
239.5 | 0.018267 | 0.036128 | 0.052453 | 0.071328 | 0.088595
240 | 0.017742 | 0.036509 | 0.055977 | 0.073726 | 0.091624
240.5 | 0.018863 | 0.037936 | 0.057259 | 0.07567 | 0.095353
241 | 0.020297 | 0.039789 | 0.059977 | 0.079522 | 0.099071
241.5 | 0.02046 | 0.041398 | 0.061979 | 0.083028 | 0.10336
242 | 0.021227 | 0.043367 | 0.065897 | 0.086718 | 0.10821
242.5 | 0.022935 | 0.045197 | 0.068672 | 0.092071 | 0.1148
243 | 0.023899 | 0.048026 | 0.072066 | 0.095614 | 0.12052
243.5 | 0.025636 | 0.050427 | 0.075546 | 0.1011 | 0.12591
244 | 0.026311 | 0.053825 | 0.080185 | 0.1069 | 0.13298
244.5 | 0.02822 | 0.056548 | 0.084235 | 0.11267 | 0.14095
245 | 0.029958 | 0.059373 | 0.088985 | 0.1187 | 0.14822
245.5 | 0.031735 | 0.062908 | 0.093312 | 0.12583 | 0.15661
246 | 0.032585 | 0.06592 | 0.098887 | 0.13269 | 0.16547
246.5 | 0.03538 | 0.070041 | 0.10449 | 0.13961 | 0.1741
247 | 0.036304 | 0.073326 | 0.10949 | 0.14706 | 0.18327
247.5 | 0.037981 | 0.077406 | 0.11579 | 0.15432 | 0.19274
248 | 0.040192 | 0.080631 | 0.12199 | 0.16183 | 0.20283
248.5 | 0.042684 | 0.085383 | 0.12774 | 0.17136 | 0.21326
249 | 0.044599 | 0.08878 | 0.13393 | 0.17853 | 0.22433
249.5 | 0.047063 | 0.092959 | 0.14041 | 0.18844 | 0.23486
250 | 0.049293 | 0.098068 | 0.14766 | 0.19633 | 0.24539
250.5 | 0.051475 | 0.10233 | 0.15343 | 0.20548 | 0.2571
251 | 0.053538 | 0.10735 | 0.1608 | 0.21449 | 0.26825
251.5 | 0.056694 | 0.11283 | 0.16774 | 0.22426 | 0.27925
252 | 0.057439 | 0.11632 | 0.17503 | 0.2331 | 0.29159
252.5 | 0.060014 | 0.12117 | 0.1821 | 0.24357 | 0.30394
253 | 0.062907 | 0.1263 | 0.18888 | 0.25265 | 0.31531
253.5 | 0.065022 | 0.13124 | 0.19739 | 0.26216 | 0.32799
254 | 0.066923 | 0.13582 | 0.20391 | 0.27155 | 0.3396
254.5 | 0.070049 | 0.14065 | 0.21056 | 0.28158 | 0.35185
255 | 0.072484 | 0.14585 | 0.21799 | 0.29113 | 0.36344
255.5 | 0.074208 | 0.15058 | 0.2256 | 0.30151 | 0.37677
256 | 0.077916 | 0.15473 | 0.23296 | 0.31067 | 0.38804
256.5 | 0.080452 | 0.15983 | 0.23926 | 0.3191 | 0.40006
257 | 0.082752 | 0.16453 | 0.24706 | 0.32965 | 0.41111
257.5 | 0.084341 | 0.16867 | 0.25308 | 0.33723 | 0.42214
258 | 0.086843 | 0.17367 | 0.26003 | 0.34775 | 0.4344
258.5 | 0.088521 | 0.1776 | 0.26725 | 0.35512 | 0.44456
259 | 0.091176 | 0.18257 | 0.27396 | 0.36437 | 0.45613
259.5 | 0.09288 | 0.18638 | 0.27941 | 0.37292 | 0.46568
260 | 0.095294 | 0.1903 | 0.28527 | 0.38052 | 0.4763
260.5 | 0.096893 | 0.19382 | 0.2916 | 0.38768 | 0.48486
261 | 0.099255 | 0.19764 | 0.29609 | 0.39586 | 0.4935
261.5 | 0.10089 | 0.20032 | 0.30179 | 0.40152 | 0.50307
262 | 0.10267 | 0.2039 | 0.30662 | 0.40811 | 0.51084
262.5 | 0.10304 | 0.20751 | 0.31146 | 0.41529 | 0.51842
263 | 0.10435 | 0.20931 | 0.31537 | 0.41998 | 0.52583
263.5 | 0.10652 | 0.21307 | 0.31898 | 0.42555 | 0.53146
264 | 0.10729 | 0.21435 | 0.32282 | 0.43042 | 0.5371
264.5 | 0.10872 | 0.21742 | 0.32522 | 0.43419 | 0.54232
265 | 0.10958 | 0.21858 | 0.32871 | 0.43796 | 0.54663
265.5 | 0.1103 | 0.22078 | 0.33043 | 0.44098 | 0.55044
266 | 0.11124 | 0.22179 | 0.33224 | 0.44355 | 0.55382
266.5 | 0.11159 | 0.22211 | 0.33394 | 0.44593 | 0.55643
267 | 0.11191 | 0.22394 | 0.33518 | 0.44726 | 0.55842
267.5 | 0.11158 | 0.22445 | 0.33609 | 0.44787 | 0.55919
268 | 0.1127 | 0.22399 | 0.33594 | 0.4484 | 0.55998
268.5 | 0.11199 | 0.22376 | 0.33611 | 0.44753 | 0.55998
269 | 0.11217 | 0.22339 | 0.33556 | 0.44659 | 0.55852
269.5 | 0.1115 | 0.22235 | 0.33407 | 0.44508 | 0.557
270 | 0.11138 | 0.22219 | 0.33223 | 0.44382 | 0.55399
270.5 | 0.1103 | 0.22027 | 0.3311 | 0.44162 | 0.55131
271 | 0.10956 | 0.21893 | 0.32853 | 0.43793 | 0.54753
271.5 | 0.10863 | 0.21683 | 0.32487 | 0.4335 | 0.54258
272 | 0.10726 | 0.21483 | 0.32223 | 0.42996 | 0.53706
272.5 | 0.10616 | 0.21226 | 0.31921 | 0.42573 | 0.53181
273 | 0.10505 | 0.21072 | 0.31477 | 0.42055 | 0.52548
273.5 | 0.10366 | 0.20736 | 0.31086 | 0.41489 | 0.51908
274 | 0.10181 | 0.2048 | 0.30593 | 0.40922 | 0.51081
274.5 | 0.10154 | 0.20119 | 0.30194 | 0.40275 | 0.50357
275 | 0.09849 | 0.19749 | 0.29674 | 0.39499 | 0.49339
275.5 | 0.096954 | 0.19402 | 0.2913 | 0.38848 | 0.48519
276 | 0.096161 | 0.19014 | 0.28613 | 0.38043 | 0.47565
276.5 | 0.092944 | 0.18642 | 0.27948 | 0.37293 | 0.46582
277 | 0.091465 | 0.18217 | 0.27336 | 0.36513 | 0.45551
277.5 | 0.089307 | 0.17797 | 0.26794 | 0.3569 | 0.44512
278 | 0.086783 | 0.17318 | 0.26008 | 0.34774 | 0.43491
278.5 | 0.084065 | 0.16895 | 0.2542 | 0.33834 | 0.42305
279 | 0.081739 | 0.16538 | 0.24655 | 0.3293 | 0.4122
279.5 | 0.080042 | 0.15982 | 0.24023 | 0.32039 | 0.40011
280 | 0.077867 | 0.15498 | 0.23394 | 0.3104 | 0.38846
280.5 | 0.074464 | 0.15079 | 0.22609 | 0.30128 | 0.37561
281 | 0.072998 | 0.14644 | 0.2185 | 0.29199 | 0.36464
281.5 | 0.070274 | 0.14049 | 0.21256 | 0.28251 | 0.35284
282 | 0.068488 | 0.13618 | 0.20417 | 0.2724 | 0.34012
282.5 | 0.065797 | 0.1312 | 0.1971 | 0.26305 | 0.32831
283 | 0.063011 | 0.12596 | 0.19012 | 0.25387 | 0.31624
283.5 | 0.060781 | 0.12219 | 0.18231 | 0.24392 | 0.30551
284 | 0.058608 | 0.11717 | 0.17621 | 0.23367 | 0.29248
284.5 | 0.056793 | 0.11253 | 0.16941 | 0.2251 | 0.2809
285 | 0.055168 | 0.10759 | 0.16215 | 0.21589 | 0.26859
285.5 | 0.051825 | 0.10354 | 0.15517 | 0.20654 | 0.25768
286 | 0.0495 | 0.098681 | 0.14829 | 0.19781 | 0.24724
286.5 | 0.047548 | 0.094469 | 0.14214 | 0.18846 | 0.23573
287 | 0.045145 | 0.089809 | 0.13412 | 0.181 | 0.22446
287.5 | 0.043326 | 0.085597 | 0.12907 | 0.17233 | 0.21501
288 | 0.0412 | 0.082558 | 0.12314 | 0.16383 | 0.20502
288.5 | 0.039076 | 0.077879 | 0.11633 | 0.15626 | 0.19523
289 | 0.036848 | 0.074378 | 0.11156 | 0.14858 | 0.18571
289.5 | 0.035384 | 0.070555 | 0.1058 | 0.14079 | 0.1761
290 | 0.033901 | 0.06683 | 0.1005 | 0.13295 | 0.16853
290.5 | 0.031856 | 0.063375 | 0.095408 | 0.12602 | 0.15864
291 | 0.030787 | 0.06054 | 0.090662 | 0.12138 | 0.15081
291.5 | 0.028984 | 0.057016 | 0.085889 | 0.11383 | 0.14225
292 | 0.02705 | 0.054068 | 0.080778 | 0.10814 | 0.13499
292.5 | 0.026366 | 0.051272 | 0.076847 | 0.10275 | 0.12747
293 | 0.02386 | 0.049012 | 0.072739 | 0.096938 | 0.12135
293.5 | 0.02349 | 0.046236 | 0.068962 | 0.092405 | 0.11467
294 | 0.022549 | 0.043685 | 0.065061 | 0.086684 | 0.10835
294.5 | 0.020562 | 0.041018 | 0.062254 | 0.082713 | 0.10223
295 | 0.01955 | 0.038547 | 0.059171 | 0.077364 | 0.09788
295.5 | 0.018966 | 0.037477 | 0.056255 | 0.074481 | 0.092982
296 | 0.018234 | 0.035623 | 0.053617 | 0.070749 | 0.088338
296.5 | 0.016979 | 0.03346 | 0.050871 | 0.067179 | 0.083672
297 | 0.016108 | 0.03215 | 0.047715 | 0.063986 | 0.080024
297.5 | 0.015656 | 0.030798 | 0.045483 | 0.061079 | 0.076493
298 | 0.014738 | 0.029505 | 0.0436 | 0.058691 | 0.073053
298.5 | 0.01356 | 0.028359 | 0.04221 | 0.056367 | 0.070465
299 | 0.013441 | 0.026756 | 0.040355 | 0.053498 | 0.067204
299.5 | 0.013047 | 0.026617 | 0.039414 | 0.052446 | 0.065035
300 | 0.012052 | 0.02471 | 0.038473 | 0.050038 | 0.062348
300.5 | 0.012471 | 0.024871 | 0.036618 | 0.049119 | 0.062072
301 | 0.011732 | 0.024161 | 0.036337 | 0.047825 | 0.059543
301.5 | 0.012102 | 0.023864 | 0.035115 | 0.047222 | 0.058849
302 | 0.011041 | 0.023931 | 0.034262 | 0.046226 | 0.058133
302.5 | 0.011159 | 0.023547 | 0.033922 | 0.046068 | 0.056999
303 | 0.010881 | 0.022376 | 0.034123 | 0.045477 | 0.057007
303.5 | 0.01197 | 0.022143 | 0.033469 | 0.045254 | 0.05726
304 | 0.012009 | 0.023232 | 0.034557 | 0.046237 | 0.057167
304.5 | 0.012179 | 0.022683 | 0.035238 | 0.046407 | 0.057546
305 | 0.012322 | 0.023364 | 0.034587 | 0.046943 | 0.058241
305.5 | 0.012279 | 0.024077 | 0.035478 | 0.047865 | 0.059018
306 | 0.012506 | 0.023546 | 0.036922 | 0.047983 | 0.060388
306.5 | 0.011744 | 0.023909 | 0.037268 | 0.049871 | 0.061975
307 | 0.012872 | 0.02549 | 0.038158 | 0.050351 | 0.063596
307.5 | 0.012898 | 0.02612 | 0.039049 | 0.052357 | 0.065639
308 | 0.013367 | 0.026799 | 0.040753 | 0.053722 | 0.067214
308.5 | 0.01344 | 0.027783 | 0.041783 | 0.055644 | 0.069169
309 | 0.014929 | 0.028368 | 0.042635 | 0.057703 | 0.072067
309.5 | 0.014975 | 0.029122 | 0.043618 | 0.059463 | 0.074412
310 | 0.014858 | 0.030744 | 0.045143 | 0.061253 | 0.077378
310.5 | 0.01623 | 0.03157 | 0.048202 | 0.06429 | 0.079929
311 | 0.016597 | 0.032513 | 0.049649 | 0.066811 | 0.083094
311.5 | 0.016842 | 0.034643 | 0.05224 | 0.069155 | 0.086215
312 | 0.017798 | 0.035743 | 0.053855 | 0.07195 | 0.089668
312.5 | 0.018294 | 0.037311 | 0.055214 | 0.073592 | 0.092446
313 | 0.018397 | 0.038185 | 0.057987 | 0.077189 | 0.09637
313.5 | 0.01944 | 0.039796 | 0.060566 | 0.080074 | 0.10018
314 | 0.02101 | 0.041184 | 0.062014 | 0.082385 | 0.1046
314.5 | 0.021723 | 0.042794 | 0.064519 | 0.086341 | 0.1078
315 | 0.022492 | 0.04483 | 0.067824 | 0.089505 | 0.11202
315.5 | 0.022728 | 0.046076 | 0.068886 | 0.092176 | 0.11586
316 | 0.023791 | 0.048201 | 0.071651 | 0.095781 | 0.11929
316.5 | 0.024904 | 0.049891 | 0.075052 | 0.099544 | 0.12484
317 | 0.026014 | 0.052285 | 0.077292 | 0.10319 | 0.12892
317.5 | 0.026271 | 0.052659 | 0.079367 | 0.10672 | 0.1335
318 | 0.027063 | 0.055328 | 0.081877 | 0.1095 | 0.13686
318.5 | 0.028827 | 0.056707 | 0.0853 | 0.11306 | 0.14193
319 | 0.029287 | 0.058516 | 0.088267 | 0.11684 | 0.14633
319.5 | 0.03 | 0.059724 | 0.090787 | 0.12059 | 0.1501
320 | 0.030748 | 0.061903 | 0.093296 | 0.12394 | 0.15537
320.5 | 0.031671 | 0.064165 | 0.096399 | 0.12766 | 0.15939
321 | 0.033454 | 0.065606 | 0.098584 | 0.13156 | 0.16426
321.5 | 0.034087 | 0.067432 | 0.10077 | 0.13507 | 0.1678
322 | 0.034404 | 0.069027 | 0.10453 | 0.13834 | 0.17247
322.5 | 0.034931 | 0.071328 | 0.10581 | 0.14128 | 0.17685
323 | 0.036952 | 0.072556 | 0.10879 | 0.14493 | 0.18077
323.5 | 0.037745 | 0.073353 | 0.11132 | 0.14869 | 0.18557
324 | 0.038416 | 0.075592 | 0.11438 | 0.15209 | 0.19015
324.5 | 0.03907 | 0.07668 | 0.1159 | 0.15536 | 0.19362
325 | 0.038757 | 0.077723 | 0.11843 | 0.15762 | 0.19777
325.5 | 0.039751 | 0.080322 | 0.12009 | 0.16088 | 0.20188
326 | 0.041223 | 0.082528 | 0.12313 | 0.16351 | 0.20517
326.5 | 0.041587 | 0.083421 | 0.12528 | 0.16563 | 0.20832
327 | 0.042478 | 0.084282 | 0.12739 | 0.16906 | 0.21108
327.5 | 0.042809 | 0.085662 | 0.12869 | 0.17137 | 0.2152
328 | 0.043368 | 0.087714 | 0.13099 | 0.17508 | 0.21799
328.5 | 0.044429 | 0.088479 | 0.13227 | 0.17702 | 0.22082
329 | 0.044589 | 0.089518 | 0.13406 | 0.17874 | 0.224
329.5 | 0.045252 | 0.090485 | 0.13573 | 0.18104 | 0.22645
330 | 0.045821 | 0.091453 | 0.13767 | 0.18304 | 0.22794
330.5 | 0.046237 | 0.09261 | 0.13826 | 0.18528 | 0.23078
331 | 0.046991 | 0.093276 | 0.13965 | 0.18642 | 0.23248
331.5 | 0.047416 | 0.093824 | 0.14027 | 0.18809 | 0.23465
332 | 0.046619 | 0.093917 | 0.14127 | 0.18886 | 0.23579
332.5 | 0.047313 | 0.095045 | 0.14198 | 0.1902 | 0.23744
333 | 0.047369 | 0.094984 | 0.14282 | 0.19109 | 0.23785
333.5 | 0.048093 | 0.096021 | 0.14368 | 0.19154 | 0.23877
334 | 0.04748 | 0.095308 | 0.14328 | 0.19165 | 0.23929
334.5 | 0.048287 | 0.095901 | 0.14422 | 0.19235 | 0.23978
335 | 0.048281 | 0.095999 | 0.14362 | 0.19185 | 0.23988
335.5 | 0.048208 | 0.095425 | 0.14406 | 0.19248 | 0.24033
336 | 0.047517 | 0.096503 | 0.1435 | 0.19152 | 0.23911
336.5 | 0.047703 | 0.096165 | 0.14325 | 0.19089 | 0.23895
337 | 0.047194 | 0.095069 | 0.14272 | 0.19126 | 0.23764
337.5 | 0.047576 | 0.095145 | 0.14269 | 0.18951 | 0.23649
338 | 0.047545 | 0.09448 | 0.14159 | 0.18872 | 0.23555
338.5 | 0.046256 | 0.092686 | 0.14102 | 0.18704 | 0.2337
339 | 0.046191 | 0.093147 | 0.13942 | 0.18582 | 0.23265
339.5 | 0.046072 | 0.092253 | 0.13831 | 0.18442 | 0.23037
340 | 0.045499 | 0.091459 | 0.13778 | 0.18246 | 0.22832
340.5 | 0.045842 | 0.090062 | 0.13507 | 0.18148 | 0.22638
341 | 0.044682 | 0.089374 | 0.13386 | 0.17868 | 0.22429
341.5 | 0.044298 | 0.088325 | 0.13251 | 0.17629 | 0.22075
342 | 0.043173 | 0.087714 | 0.13158 | 0.17493 | 0.21729
342.5 | 0.043622 | 0.086146 | 0.12876 | 0.17231 | 0.21484
343 | 0.042425 | 0.084718 | 0.12739 | 0.16851 | 0.21177
343.5 | 0.041991 | 0.083977 | 0.12567 | 0.16651 | 0.20883
344 | 0.04101 | 0.081731 | 0.12283 | 0.16431 | 0.20483
344.5 | 0.039393 | 0.08033 | 0.12065 | 0.16067 | 0.20083
345 | 0.038843 | 0.078241 | 0.11911 | 0.15783 | 0.19776
345.5 | 0.038185 | 0.07803 | 0.11587 | 0.15471 | 0.19391
346 | 0.038085 | 0.07618 | 0.11326 | 0.15069 | 0.18938
346.5 | 0.036869 | 0.074514 | 0.11154 | 0.14794 | 0.18546
347 | 0.036403 | 0.072732 | 0.10848 | 0.14524 | 0.18128
347.5 | 0.03549 | 0.070795 | 0.10664 | 0.14209 | 0.17788
348 | 0.034605 | 0.069098 | 0.10372 | 0.138 | 0.17227
348.5 | 0.033991 | 0.067147 | 0.10016 | 0.13446 | 0.16794
349 | 0.032805 | 0.065385 | 0.098301 | 0.13116 | 0.16361
349.5 | 0.031177 | 0.063691 | 0.095498 | 0.12741 | 0.15944
350 | 0.030658 | 0.062466 | 0.092516 | 0.12393 | 0.15452
350.5 | 0.030687 | 0.060268 | 0.0905 | 0.11975 | 0.1503
351 | 0.028684 | 0.058204 | 0.086621 | 0.11647 | 0.14591
351.5 | 0.028749 | 0.056176 | 0.0841 | 0.11303 | 0.14179
352 | 0.027957 | 0.054338 | 0.081679 | 0.10943 | 0.1364
352.5 | 0.026154 | 0.053425 | 0.079482 | 0.10495 | 0.13182
353 | 0.02563 | 0.051188 | 0.07585 | 0.10231 | 0.12732
353.5 | 0.024039 | 0.049227 | 0.073533 | 0.098454 | 0.12225
354 | 0.024024 | 0.047292 | 0.070848 | 0.094932 | 0.1181
354.5 | 0.022529 | 0.045237 | 0.067904 | 0.090661 | 0.11425
355 | 0.021452 | 0.043925 | 0.06576 | 0.087928 | 0.10993
355.5 | 0.020967 | 0.042597 | 0.062897 | 0.083871 | 0.10663
356 | 0.020102 | 0.040413 | 0.060659 | 0.080138 | 0.1019
356.5 | 0.019226 | 0.038829 | 0.05848 | 0.077887 | 0.097593
357 | 0.018729 | 0.037213 | 0.055571 | 0.07461 | 0.093823
357.5 | 0.01779 | 0.035759 | 0.053207 | 0.071463 | 0.089017
358 | 0.016816 | 0.033526 | 0.050832 | 0.068406 | 0.085169
358.5 | 0.016703 | 0.032552 | 0.048612 | 0.065303 | 0.081306
359 | 0.016552 | 0.030825 | 0.046104 | 0.062784 | 0.077839
359.5 | 0.014888 | 0.030079 | 0.044097 | 0.059786 | 0.075153
360 | 0.013879 | 0.028014 | 0.042514 | 0.057307 | 0.070688
360.5 | 0.013083 | 0.02719 | 0.040069 | 0.054943 | 0.06713
361 | 0.013054 | 0.026247 | 0.039749 | 0.051598 | 0.064096
361.5 | 0.012075 | 0.02423 | 0.03619 | 0.049047 | 0.061209
362 | 0.011564 | 0.022875 | 0.03484 | 0.047008 | 0.057968
362.5 | 0.010161 | 0.021994 | 0.032256 | 0.043503 | 0.055122
363 | 0.009928 | 0.020761 | 0.031017 | 0.04141 | 0.051415
363.5 | 0.009359 | 0.01925 | 0.029234 | 0.039414 | 0.048764
364 | 0.009665 | 0.018759 | 0.027813 | 0.036543 | 0.046334
364.5 | 0.008663 | 0.018349 | 0.026832 | 0.03549 | 0.043885
365 | 0.007282 | 0.016449 | 0.024745 | 0.033755 | 0.041914
365.5 | 0.007994 | 0.015522 | 0.022904 | 0.03072 | 0.038496
366 | 0.0078 | 0.014275 | 0.022073 | 0.029079 | 0.036981
366.5 | 0.007433 | 0.013951 | 0.020334 | 0.028024 | 0.034459
367 | 0.005375 | 0.012493 | 0.019427 | 0.026542 | 0.032717
367.5 | 0.006161 | 0.011756 | 0.018928 | 0.02375 | 0.03023
368 | 0.006046 | 0.011955 | 0.017537 | 0.023117 | 0.028048
368.5 | 0.005604 | 0.010361 | 0.016512 | 0.021376 | 0.027272
369 | 0.004925 | 0.010472 | 0.015268 | 0.01935 | 0.025208
369.5 | 0.003974 | 0.01 | 0.014072 | 0.018619 | 0.022697
370 | 0.004213 | 0.008878 | 0.012538 | 0.017327 | 0.022205
370.5 | 0.003966 | 0.008411 | 0.012091 | 0.016428 | 0.020069
371 | 0.004048 | 0.008419 | 0.01124 | 0.015295 | 0.019046
371.5 | 0.003814 | 0.007037 | 0.010944 | 0.014125 | 0.017776
372 | 0.003214 | 0.006386 | 0.010332 | 0.013195 | 0.016015
372.5 | 0.003418 | 0.005617 | 0.009429 | 0.012256 | 0.015829
373 | 0.002438 | 0.005737 | 0.008261 | 0.011648 | 0.014086
373.5 | 0.002381 | 0.0059 | 0.008703 | 0.011006 | 0.013911
374 | 0.002448 | 0.005305 | 0.00795 | 0.010229 | 0.012489
374.5 | 0.002509 | 0.004182 | 0.006751 | 0.008762 | 0.011593
375 | 0.00198 | 0.003876 | 0.006406 | 0.00812 | 0.010644
375.5 | 0.002442 | 0.003697 | 0.006105 | 0.00753 | 0.010524
376 | 0.001965 | 0.003718 | 0.005443 | 0.007771 | 0.008588
376.5 | 0.001281 | 0.00324 | 0.004944 | 0.006835 | 0.007988
377 | 0.001565 | 0.003148 | 0.004791 | 0.005817 | 0.007385
377.5 | 0.001055 | 0.002938 | 0.004233 | 0.005176 | 0.0075
378 | 0.000912 | 0.002474 | 0.003972 | 0.004784 | 0.006896
378.5 | 0.000621 | 0.002367 | 0.002931 | 0.004778 | 0.005987
379 | 0.001653 | 0.002271 | 0.002639 | 0.003935 | 0.005572
379.5 | 0.001367 | 0.001973 | 0.003707 | 0.004011 | 0.004357
380 | 0.000279 | 0.00204 | 0.00215 | 0.004217 | 0.005184
380.5 | 0.001287 | 0.002432 | 0.00272 | 0.003264 | 0.004116
381 | 0.001154 | 0.001776 | 0.002438 | 0.003421 | 0.003892
381.5 | 0.000558 | 0.001429 | 0.002199 | 0.002205 | 0.003392
382 | 0.000845 | 0.000609 | 0.001648 | 0.00271 | 0.003466
382.5 | 0.001483 | 0.001326 | 0.002162 | 0.002458 | 0.002837
383 | 0.000648 | 0.000288 | 0.00174 | 0.001764 | 0.00271
383.5 | 0.000654 | 0.000407 | 0.001319 | 0.002493 | 0.002458
384 | 0.00089 | 0.001224 | 0.000761 | 0.001762 | 0.002
384.5 | -1.3e-05 | 0.001084 | 0.00111 | 0.001327 | 0.001757
385 | -0.000143 | 0.000667 | 0.000851 | 0.001337 | 0.001972
385.5 | -0.000234 | -2.5e-05 | 0.000486 | 0.001699 | 0.001799
386 | 0.000268 | 0.000449 | 0.001048 | 0.000645 | 0.001784
386.5 | 0.000619 | 0.000269 | 0.001043 | 0.00114 | 0.001927
387 | -9.9e-05 | 0.000743 | 0.001067 | 0.000592 | 0.000726
387.5 | -0.000327 | 0.001344 | 0.000711 | 0.000972 | 0.000366
388 | 0.000286 | 0.000485 | 0.000501 | 0.000584 | 0.000831
388.5 | 3.9e-05 | 4.7e-05 | 0.000997 | 0.000687 | 0.001402
389 | 0.000413 | -0.000145 | 0.000797 | 0.00095 | 0.000787
389.5 | 0.000106 | 0.000268 | 0.001364 | 0.000597 | -2e-06
390 | 7.1e-05 | 0.00019 | 0.000622 | 0.000742 | 0.001286
390.5 | 9.9e-05 | -0.000226 | -1.6e-05 | 0.000748 | 0.000784
391 | 0.000135 | 0.000257 | 0.00071 | 0.000583 | -7.3e-05
391.5 | -0.000275 | -0.000272 | 0.001225 | 0.000467 | 0.000137
392 | -0.000348 | 0.000613 | 0.000372 | 0.000354 | 0.000459
392.5 | 0.000728 | 0.000576 | 0.000163 | 0.000556 | 0.000154
393 | 0.001321 | 0.000568 | -2.6e-05 | 0.000751 | 0.000281
393.5 | 0.000526 | -7e-05 | 0.000957 | 0.000977 | 0.000506
394 | -0.00058 | 0.000313 | 9.9e-05 | 0.000918 | 0.000268
394.5 | 7.9e-05 | 4.3e-05 | 5.9e-05 | -0.000207 | 0.000793
395 | 0.000538 | -7.1e-05 | 0.000264 | 0.000287 | 0.000135
395.5 | -0.00059 | -6e-05 | -0.000441 | 0.000347 | 0.000783
396 | -0.000141 | -0.000453 | 7e-06 | 0.00062 | -6.7e-05
396.5 | -0.000113 | -0.000518 | -0.000402 | 0.000544 | -0.000318
397 | -0.000319 | 0.00037 | 3.9e-05 | -0.000467 | -0.000706
397.5 | -0.00029 | -3e-05 | 0.000287 | 0.000204 | -0.000231
398 | 0.000448 | 0.000128 | 0.000452 | -0.000602 | 0.000139
398.5 | -0.000141 | 0.000437 | -9.4e-05 | -0.000117 | 0.000472
399 | -5.3e-05 | -0.000661 | 0.000397 | -0.000306 | -0.001292
399.5 | 0.000724 | -0.000285 | -9.5e-05 | -0.000188 | 5.3e-05
400 | -0.000305 | 9.5e-05 | -0.000605 | 0.000683 | -0.000327

## Divisor
Wavelength (nm) | Divisor: A 0, B 10
200 | 0.002286
200.5 | 0.002885
201 | 0.003356
201.5 | 0.003686
202 | 0.004358
202.5 | 0.005061
203 | 0.006041
203.5 | 0.006898
204 | 0.008064
204.5 | 0.008903
205 | 0.010678
205.5 | 0.01192
206 | 0.01364
206.5 | 0.015305
207 | 0.017213
207.5 | 0.019434
208 | 0.021765
208.5 | 0.024086
209 | 0.026724
209.5 | 0.029639
210 | 0.032402
210.5 | 0.035445
211 | 0.038979
211.5 | 0.042252
212 | 0.045621
212.5 | 0.049407
213 | 0.053172
213.5 | 0.056851
214 | 0.060619
214.5 | 0.064633
215 | 0.06853
215.5 | 0.072103
216 | 0.075668
216.5 | 0.079326
217 | 0.082721
217.5 | 0.085746
218 | 0.088798
218.5 | 0.091553
219 | 0.093795
219.5 | 0.09582
220 | 0.097754
220.5 | 0.099177
221 | 0.10037
221.5 | 0.10076
222 | 0.10118
222.5 | 0.10112
223 | 0.10059
223.5 | 0.10007
224 | 0.098999
224.5 | 0.097379
225 | 0.095899
225.5 | 0.093776
226 | 0.091444
226.5 | 0.088881
227 | 0.086229
227.5 | 0.08304
228 | 0.080292
228.5 | 0.077198
229 | 0.07374
229.5 | 0.070868
230 | 0.067656
230.5 | 0.064719
231 | 0.061571
231.5 | 0.058762
232 | 0.056093
232.5 | 0.053388
233 | 0.051238
233.5 | 0.049015
234 | 0.047201
234.5 | 0.045422
235 | 0.044255
235.5 | 0.043081
236 | 0.042146
236.5 | 0.041709
237 | 0.041535
237.5 | 0.041638
238 | 0.041511
238.5 | 0.042448
239 | 0.043286
239.5 | 0.044386
240 | 0.045716
240.5 | 0.04774
241 | 0.049392
241.5 | 0.051883
242 | 0.054481
242.5 | 0.05684
243 | 0.059998
243.5 | 0.063081
244 | 0.066731
244.5 | 0.07056
245 | 0.074498
245.5 | 0.078064
246 | 0.082493
246.5 | 0.087119
247 | 0.091871
247.5 | 0.096522
248 | 0.10133
248.5 | 0.10659
249 | 0.11182
249.5 | 0.11719
250 | 0.12264
250.5 | 0.12842
251 | 0.13414
251.5 | 0.13991
252 | 0.14578
252.5 | 0.1516
253 | 0.15771
253.5 | 0.16397
254 | 0.16984
254.5 | 0.17573
255 | 0.18214
255.5 | 0.18804
256 | 0.19421
256.5 | 0.19984
257 | 0.20558
257.5 | 0.21117
258 | 0.21714
258.5 | 0.22276
259 | 0.22762
259.5 | 0.23279
260 | 0.23791
260.5 | 0.24246
261 | 0.24707
261.5 | 0.25135
262 | 0.25546
262.5 | 0.25936
263 | 0.26271
263.5 | 0.26603
264 | 0.26875
264.5 | 0.27144
265 | 0.27337
265.5 | 0.27539
266 | 0.27727
266.5 | 0.27833
267 | 0.27938
267.5 | 0.27991
268 | 0.2802
268.5 | 0.27995
269 | 0.27945
269.5 | 0.27841
270 | 0.2771
270.5 | 0.27551
271 | 0.27362
271.5 | 0.27128
272 | 0.26878
272.5 | 0.26595
273 | 0.2628
273.5 | 0.25923
274 | 0.25526
274.5 | 0.25148
275 | 0.24724
275.5 | 0.24283
276 | 0.23803
276.5 | 0.23293
277 | 0.2278
277.5 | 0.22287
278 | 0.21727
278.5 | 0.21183
279 | 0.20618
279.5 | 0.2
280 | 0.1943
280.5 | 0.18838
281 | 0.18242
281.5 | 0.17641
282 | 0.17035
282.5 | 0.16434
283 | 0.15813
283.5 | 0.15235
284 | 0.14637
284.5 | 0.14065
285 | 0.13481
285.5 | 0.12928
286 | 0.12373
286.5 | 0.1182
287 | 0.11286
287.5 | 0.10762
288 | 0.10247
288.5 | 0.097581
289 | 0.092761
289.5 | 0.088262
290 | 0.083759
290.5 | 0.07955
291 | 0.075182
291.5 | 0.07154
292 | 0.067559
292.5 | 0.063981
293 | 0.06065
293.5 | 0.05738
294 | 0.054454
294.5 | 0.051478
295 | 0.048732
295.5 | 0.046259
296 | 0.044221
296.5 | 0.041901
297 | 0.03976
297.5 | 0.038109
298 | 0.036258
298.5 | 0.035227
299 | 0.033469
299.5 | 0.032578
300 | 0.031583
300.5 | 0.030465
301 | 0.029994
301.5 | 0.029527
302 | 0.029036
302.5 | 0.028726
303 | 0.028669
303.5 | 0.028545
304 | 0.028676
304.5 | 0.028844
305 | 0.029295
305.5 | 0.029551
306 | 0.03036
306.5 | 0.030874
307 | 0.031588
307.5 | 0.032677
308 | 0.033847
308.5 | 0.034838
309 | 0.035822
309.5 | 0.037252
310 | 0.038453
310.5 | 0.039932
311 | 0.041474
311.5 | 0.042742
312 | 0.044735
312.5 | 0.046298
313 | 0.048132
313.5 | 0.049878
314 | 0.051777
314.5 | 0.05381
315 | 0.05605
315.5 | 0.058209
316 | 0.060069
316.5 | 0.062339
317 | 0.064309
317.5 | 0.066265
318 | 0.068736
318.5 | 0.070988
319 | 0.073094
319.5 | 0.07542
320 | 0.077686
320.5 | 0.079719
321 | 0.081852
321.5 | 0.08422
322 | 0.086401
322.5 | 0.088536
323 | 0.090837
323.5 | 0.093022
324 | 0.094781
324.5 | 0.096927
325 | 0.098905
325.5 | 0.10076
326 | 0.10263
326.5 | 0.1042
327 | 0.10604
327.5 | 0.10782
328 | 0.10918
328.5 | 0.11044
329 | 0.11195
329.5 | 0.1133
330 | 0.11435
330.5 | 0.11528
331 | 0.11653
331.5 | 0.11701
332 | 0.11798
332.5 | 0.11855
333 | 0.11891
333.5 | 0.11964
334 | 0.11982
334.5 | 0.11979
335 | 0.12008
335.5 | 0.11989
336 | 0.11951
336.5 | 0.11938
337 | 0.1191
337.5 | 0.11863
338 | 0.11793
338.5 | 0.11717
339 | 0.11637
339.5 | 0.11532
340 | 0.11444
340.5 | 0.11314
341 | 0.11189
341.5 | 0.11057
342 | 0.10891
342.5 | 0.10742
343 | 0.1061
343.5 | 0.10425
344 | 0.1024
344.5 | 0.10065
345 | 0.098645
345.5 | 0.09679
346 | 0.094654
346.5 | 0.09272
347 | 0.09037
347.5 | 0.088617
348 | 0.086196
348.5 | 0.08385
349 | 0.081803
349.5 | 0.079537
350 | 0.077347
350.5 | 0.074905
351 | 0.072837
351.5 | 0.070993
352 | 0.06807
352.5 | 0.066025
353 | 0.06369
353.5 | 0.061526
354 | 0.059047
354.5 | 0.056947
355 | 0.055001
355.5 | 0.052804
356 | 0.05093
356.5 | 0.048556
357 | 0.04665
357.5 | 0.045033
358 | 0.042602
358.5 | 0.040688
359 | 0.038954
359.5 | 0.03715
360 | 0.035515
360.5 | 0.033716
361 | 0.031945
361.5 | 0.030473
362 | 0.029247
362.5 | 0.027567
363 | 0.025581
363.5 | 0.02454
364 | 0.023101
364.5 | 0.022011
365 | 0.020667
365.5 | 0.019761
366 | 0.018491
366.5 | 0.017398
367 | 0.016265
367.5 | 0.015243
368 | 0.014349
368.5 | 0.013577
369 | 0.012621
369.5 | 0.011691
370 | 0.011137
370.5 | 0.010263
371 | 0.009537
371.5 | 0.008789
372 | 0.008203
372.5 | 0.007613
373 | 0.006778
373.5 | 0.006771
374 | 0.006228
374.5 | 0.00567
375 | 0.005412
375.5 | 0.004932
376 | 0.00455
376.5 | 0.003823
377 | 0.003796
377.5 | 0.003595
378 | 0.003457
378.5 | 0.003225
379 | 0.002925
379.5 | 0.002354
380 | 0.002006
380.5 | 0.00218
381 | 0.001928
381.5 | 0.001887
382 | 0.001588
382.5 | 0.001493
383 | 0.001133
383.5 | 0.001273
384 | 0.001044
384.5 | 0.001049
385 | 0.00097
385.5 | 0.000808
386 | 0.000789
386.5 | 0.000673
387 | 0.000712
387.5 | 0.000618
388 | 0.000424
388.5 | 0.00037
389 | 0.000636
389.5 | 0.000349
390 | 0.000458
390.5 | 0.000345
391 | 0.000187
391.5 | 0.000135
392 | 0.000227
392.5 | 0.000222
393 | 0.00025
393.5 | -1.9e-05
394 | 5.5e-05
394.5 | 0.000107
395 | 0.000319
395.5 | -0.00022
396 | 0.000142
396.5 | 2e-06
397 | 0.000123
397.5 | -7e-06
398 | 0.0001
398.5 | 0.000254
399 | 8.7e-05
399.5 | 9.3e-05
400 | 8.1e-05

## Samples
Wavelength (nm) | Sample: A 20, B 6 | Sample: A 20, B 6 | Sample: A 20, B 6
200 | 0.025732 | 0.025985 | 0.025367
200.5 | 0.029931 | 0.029676 | 0.029581
201 | 0.034956 | 0.034976 | 0.03518
201.5 | 0.040424 | 0.039368 | 0.03917
202 | 0.045992 | 0.046186 | 0.046145
202.5 | 0.052636 | 0.05257 | 0.051947
203 | 0.059366 | 0.059522 | 0.059937
203.5 | 0.067575 | 0.066836 | 0.067894
204 | 0.075364 | 0.075604 | 0.075519
204.5 | 0.084071 | 0.085022 | 0.08492
205 | 0.094345 | 0.094297 | 0.093954
205.5 | 0.10384 | 0.10437 | 0.10395
206 | 0.11447 | 0.11443 | 0.11493
206.5 | 0.12577 | 0.1258 | 0.12645
207 | 0.13791 | 0.13728 | 0.13735
207.5 | 0.14983 | 0.14943 | 0.1497
208 | 0.16138 | 0.16174 | 0.16092
208.5 | 0.17305 | 0.17434 | 0.17366
209 | 0.18594 | 0.18679 | 0.18636
209.5 | 0.1987 | 0.19925 | 0.19959
210 | 0.21111 | 0.21189 | 0.21081
210.5 | 0.22304 | 0.22264 | 0.22299
211 | 0.23452 | 0.23509 | 0.23468
211.5 | 0.24599 | 0.24553 | 0.24613
212 | 0.2565 | 0.2565 | 0.25611
212.5 | 0.26574 | 0.26599 | 0.26562
213 | 0.2751 | 0.27497 | 0.27482
213.5 | 0.28378 | 0.28296 | 0.28365
214 | 0.29133 | 0.29136 | 0.29149
214.5 | 0.29755 | 0.29731 | 0.29797
215 | 0.30271 | 0.30325 | 0.30221
215.5 | 0.30762 | 0.30782 | 0.30735
216 | 0.31034 | 0.31088 | 0.31094
216.5 | 0.31364 | 0.31271 | 0.3132
217 | 0.3155 | 0.31502 | 0.31599
217.5 | 0.31604 | 0.31532 | 0.31645
218 | 0.31598 | 0.31597 | 0.31665
218.5 | 0.31641 | 0.316 | 0.31629
219 | 0.316 | 0.31495 | 0.31554
219.5 | 0.314 | 0.31362 | 0.31409
220 | 0.31281 | 0.31268 | 0.31269
220.5 | 0.31118 | 0.31123 | 0.31067
221 | 0.30959 | 0.30938 | 0.30928
221.5 | 0.30831 | 0.30819 | 0.30867
222 | 0.308 | 0.3067 | 0.30679
222.5 | 0.30747 | 0.30773 | 0.3073
223 | 0.30812 | 0.30733 | 0.30679
223.5 | 0.30747 | 0.30804 | 0.30826
224 | 0.31007 | 0.31023 | 0.30924
224.5 | 0.31287 | 0.31238 | 0.31252
225 | 0.31615 | 0.31635 | 0.31616
225.5 | 0.32169 | 0.32117 | 0.32145
226 | 0.32641 | 0.32751 | 0.32743
226.5 | 0.33465 | 0.33497 | 0.33416
227 | 0.34292 | 0.3435 | 0.34322
227.5 | 0.35326 | 0.35229 | 0.35242
228 | 0.36329 | 0.36319 | 0.36381
228.5 | 0.37538 | 0.37612 | 0.37592
229 | 0.3894 | 0.3896 | 0.38903
229.5 | 0.40349 | 0.40519 | 0.40416
230 | 0.41984 | 0.42006 | 0.42009
230.5 | 0.43686 | 0.43697 | 0.43579
231 | 0.45549 | 0.45484 | 0.45414
231.5 | 0.47433 | 0.4741 | 0.47394
232 | 0.49265 | 0.4941 | 0.49376
232.5 | 0.51423 | 0.51477 | 0.51433
233 | 0.53595 | 0.5364 | 0.53563
233.5 | 0.55773 | 0.55801 | 0.55761
234 | 0.5811 | 0.58058 | 0.58079
234.5 | 0.60315 | 0.60246 | 0.60328
235 | 0.62647 | 0.62607 | 0.6265
235.5 | 0.64896 | 0.6488 | 0.64945
236 | 0.67261 | 0.67234 | 0.67183
236.5 | 0.69467 | 0.69448 | 0.69507
237 | 0.71764 | 0.71749 | 0.71754
237.5 | 0.73933 | 0.73931 | 0.73969
238 | 0.76104 | 0.76087 | 0.7611
238.5 | 0.78239 | 0.78173 | 0.7822
239 | 0.80146 | 0.80228 | 0.80215
239.5 | 0.82124 | 0.82181 | 0.82063
240 | 0.83903 | 0.83918 | 0.83961
240.5 | 0.85639 | 0.85724 | 0.85724
241 | 0.87288 | 0.87213 | 0.8725
241.5 | 0.88616 | 0.88732 | 0.88714
242 | 0.90005 | 0.90015 | 0.89988
242.5 | 0.9115 | 0.91181 | 0.91108
243 | 0.92167 | 0.92132 | 0.92109
243.5 | 0.93023 | 0.92997 | 0.92979
244 | 0.93577 | 0.93683 | 0.93662
244.5 | 0.94049 | 0.94123 | 0.94117
245 | 0.94389 | 0.94426 | 0.94437
245.5 | 0.94606 | 0.94512 | 0.94565
246 | 0.94509 | 0.94598 | 0.94652
246.5 | 0.94413 | 0.94377 | 0.9441
247 | 0.93998 | 0.94001 | 0.93992
247.5 | 0.93507 | 0.93506 | 0.93465
248 | 0.92792 | 0.92855 | 0.9278
248.5 | 0.91961 | 0.91941 | 0.91894
249 | 0.90978 | 0.91031 | 0.90934
249.5 | 0.89768 | 0.89789 | 0.89875
250 | 0.88572 | 0.88462 | 0.88569
250.5 | 0.87123 | 0.87109 | 0.87153
251 | 0.8555 | 0.85679 | 0.85594
251.5 | 0.83969 | 0.83957 | 0.83952
252 | 0.82204 | 0.82325 | 0.82206
252.5 | 0.80395 | 0.80441 | 0.80487
253 | 0.78536 | 0.78555 | 0.78564
253.5 | 0.76655 | 0.76619 | 0.76638
254 | 0.74568 | 0.74519 | 0.74587
254.5 | 0.72484 | 0.72562 | 0.72564
255 | 0.70484 | 0.70438 | 0.70413
255.5 | 0.68388 | 0.6834 | 0.68399
256 | 0.66176 | 0.66226 | 0.6624
256.5 | 0.64107 | 0.64103 | 0.64058
257 | 0.61963 | 0.6193 | 0.61946
257.5 | 0.59839 | 0.59853 | 0.59853
258 | 0.57733 | 0.57747 | 0.57715
258.5 | 0.55796 | 0.55682 | 0.55706
259 | 0.53735 | 0.5376 | 0.53765
259.5 | 0.5172 | 0.51777 | 0.5171
260 | 0.49807 | 0.49839 | 0.4982
260.5 | 0.47863 | 0.47953 | 0.47859
261 | 0.46074 | 0.46049 | 0.46028
261.5 | 0.44267 | 0.44231 | 0.44276
262 | 0.42627 | 0.42641 | 0.42619
262.5 | 0.40975 | 0.40958 | 0.40887
263 | 0.39321 | 0.39334 | 0.39435
263.5 | 0.37879 | 0.37864 | 0.37797
264 | 0.36346 | 0.36359 | 0.36379
264.5 | 0.34978 | 0.34926 | 0.34976
265 | 0.33668 | 0.3367 | 0.33655
265.5 | 0.32444 | 0.32354 | 0.32353
266 | 0.3117 | 0.31107 | 0.3114
266.5 | 0.29897 | 0.29962 | 0.30057
267 | 0.29032 | 0.28968 | 0.28908
267.5 | 0.27998 | 0.27918 | 0.27891
268 | 0.26867 | 0.26841 | 0.26832
268.5 | 0.25983 | 0.2597 | 0.26005
269 | 0.25125 | 0.25065 | 0.25133
269.5 | 0.24223 | 0.24261 | 0.24252
270 | 0.23464 | 0.23423 | 0.23436
270.5 | 0.22664 | 0.22622 | 0.22698
271 | 0.21925 | 0.21974 | 0.21985
271.5 | 0.21253 | 0.21207 | 0.21215
272 | 0.20528 | 0.20536 | 0.20602
272.5 | 0.19937 | 0.19854 | 0.1997
273 | 0.1928 | 0.1922 | 0.19261
273.5 | 0.18691 | 0.1868 | 0.18693
274 | 0.18081 | 0.18158 | 0.18101
274.5 | 0.17616 | 0.17516 | 0.17549
275 | 0.17043 | 0.16981 | 0.16975
275.5 | 0.16531 | 0.16388 | 0.16593
276 | 0.15981 | 0.1597 | 0.15973
276.5 | 0.15431 | 0.15535 | 0.15423
277 | 0.14973 | 0.14952 | 0.14929
277.5 | 0.14476 | 0.14482 | 0.14475
278 | 0.1404 | 0.13995 | 0.14009
278.5 | 0.1356 | 0.13616 | 0.13517
279 | 0.13088 | 0.13097 | 0.13073
279.5 | 0.12624 | 0.12616 | 0.12741
280 | 0.12243 | 0.12177 | 0.12229
280.5 | 0.11829 | 0.11736 | 0.11837
281 | 0.11343 | 0.11367 | 0.1127
281.5 | 0.10951 | 0.10994 | 0.10993
282 | 0.10529 | 0.10495 | 0.10443
282.5 | 0.1011 | 0.10021 | 0.10118
283 | 0.097844 | 0.097838 | 0.096964
283.5 | 0.093003 | 0.093207 | 0.093511
284 | 0.089976 | 0.089705 | 0.089841
284.5 | 0.086531 | 0.085443 | 0.085707
285 | 0.082846 | 0.081298 | 0.082712
285.5 | 0.078517 | 0.078879 | 0.078654
286 | 0.074771 | 0.075367 | 0.075507
286.5 | 0.070607 | 0.071546 | 0.071328
287 | 0.068291 | 0.068262 | 0.068153
287.5 | 0.065513 | 0.065377 | 0.065281
288 | 0.061635 | 0.061859 | 0.062334
288.5 | 0.058965 | 0.058723 | 0.060086
289 | 0.055061 | 0.055677 | 0.056629
289.5 | 0.05305 | 0.053295 | 0.053318
290 | 0.05057 | 0.050249 | 0.050371
290.5 | 0.048067 | 0.047939 | 0.047447
291 | 0.045475 | 0.044474 | 0.045178
291.5 | 0.043472 | 0.0436 | 0.042819
292 | 0.040384 | 0.040169 | 0.041016
292.5 | 0.038379 | 0.038898 | 0.038107
293 | 0.036729 | 0.036071 | 0.036701
293.5 | 0.035007 | 0.034947 | 0.035024
294 | 0.032419 | 0.033122 | 0.032938
294.5 | 0.03037 | 0.030564 | 0.031527
295 | 0.029465 | 0.029405 | 0.029463
295.5 | 0.028234 | 0.028698 | 0.028499
296 | 0.026525 | 0.026509 | 0.026648
296.5 | 0.02473 | 0.025162 | 0.024956
297 | 0.023269 | 0.023177 | 0.023651
297.5 | 0.022207 | 0.022821 | 0.022766
298 | 0.021818 | 0.022367 | 0.021326
298.5 | 0.021083 | 0.021531 | 0.02114
299 | 0.020093 | 0.020507 | 0.020851
299.5 | 0.019057 | 0.019011 | 0.019812
300 | 0.019564 | 0.019535 | 0.018991
300.5 | 0.017963 | 0.018761 | 0.018498
301 | 0.017021 | 0.017563 | 0.018232
301.5 | 0.017998 | 0.017779 | 0.018672
302 | 0.017174 | 0.017721 | 0.016806
302.5 | 0.017851 | 0.017323 | 0.017044
303 | 0.016869 | 0.017421 | 0.016953
303.5 | 0.017681 | 0.017084 | 0.017735
304 | 0.017788 | 0.016812 | 0.017988
304.5 | 0.016634 | 0.017508 | 0.017701
305 | 0.017313 | 0.017755 | 0.017202
305.5 | 0.01777 | 0.017574 | 0.017749
306 | 0.018239 | 0.018244 | 0.018383
306.5 | 0.017848 | 0.018686 | 0.017546
307 | 0.01814 | 0.018998 | 0.018553
307.5 | 0.018665 | 0.01982 | 0.020473
308 | 0.019795 | 0.019613 | 0.020582
308.5 | 0.020706 | 0.020961 | 0.020196
309 | 0.021834 | 0.021659 | 0.02132
309.5 | 0.021815 | 0.022148 | 0.022401
310 | 0.022952 | 0.022851 | 0.023734
310.5 | 0.024008 | 0.023521 | 0.024097
311 | 0.024619 | 0.024608 | 0.025153
311.5 | 0.025682 | 0.025574 | 0.025247
312 | 0.026963 | 0.026929 | 0.027373
312.5 | 0.027811 | 0.027927 | 0.027818
313 | 0.029078 | 0.029136 | 0.028879
313.5 | 0.030341 | 0.02988 | 0.030651
314 | 0.031315 | 0.030933 | 0.031919
314.5 | 0.032106 | 0.032551 | 0.03217
315 | 0.033491 | 0.033757 | 0.032968
315.5 | 0.035237 | 0.035257 | 0.035504
316 | 0.036115 | 0.035867 | 0.036291
316.5 | 0.037874 | 0.037347 | 0.037691
317 | 0.038634 | 0.038591 | 0.038578
317.5 | 0.040147 | 0.040417 | 0.039623
318 | 0.041648 | 0.041698 | 0.04142
318.5 | 0.042126 | 0.042307 | 0.042818
319 | 0.044127 | 0.043626 | 0.044362
319.5 | 0.045412 | 0.045344 | 0.04508
320 | 0.047019 | 0.046912 | 0.046682
320.5 | 0.047711 | 0.047848 | 0.047619
321 | 0.049431 | 0.049483 | 0.04868
321.5 | 0.050262 | 0.050981 | 0.051327
322 | 0.051852 | 0.052113 | 0.052122
322.5 | 0.052561 | 0.053885 | 0.053498
323 | 0.054499 | 0.054145 | 0.054444
323.5 | 0.055809 | 0.055283 | 0.056467
324 | 0.056664 | 0.057 | 0.057096
324.5 | 0.058337 | 0.058024 | 0.058386
325 | 0.058483 | 0.059605 | 0.059838
325.5 | 0.06032 | 0.061243 | 0.060652
326 | 0.060873 | 0.061412 | 0.060523
326.5 | 0.063281 | 0.062281 | 0.063178
327 | 0.063808 | 0.062608 | 0.063458
327.5 | 0.064409 | 0.064829 | 0.064213
328 | 0.065445 | 0.065282 | 0.065506
328.5 | 0.066259 | 0.066294 | 0.066231
329 | 0.067594 | 0.067554 | 0.067648
329.5 | 0.067465 | 0.068162 | 0.067351
330 | 0.068984 | 0.06816 | 0.068775
330.5 | 0.068495 | 0.070013 | 0.068979
331 | 0.069608 | 0.069855 | 0.07064
331.5 | 0.070813 | 0.070122 | 0.0702
332 | 0.071202 | 0.070959 | 0.070372
332.5 | 0.071511 | 0.070777 | 0.070128
333 | 0.071606 | 0.071562 | 0.071532
333.5 | 0.071663 | 0.071693 | 0.070955
334 | 0.071954 | 0.072034 | 0.072215
334.5 | 0.072254 | 0.072273 | 0.072212
335 | 0.071954 | 0.072088 | 0.071621
335.5 | 0.072014 | 0.071947 | 0.072298
336 | 0.071994 | 0.072338 | 0.071645
336.5 | 0.072455 | 0.071359 | 0.071282
337 | 0.070779 | 0.072197 | 0.072608
337.5 | 0.071829 | 0.070922 | 0.071022
338 | 0.070846 | 0.070837 | 0.06992
338.5 | 0.070395 | 0.070104 | 0.069588
339 | 0.069989 | 0.069613 | 0.069121
339.5 | 0.069401 | 0.069331 | 0.069129
340 | 0.068772 | 0.068718 | 0.068838
340.5 | 0.066952 | 0.067718 | 0.068009
341 | 0.06697 | 0.066591 | 0.067223
341.5 | 0.066327 | 0.065978 | 0.065914
342 | 0.065043 | 0.065301 | 0.065714
342.5 | 0.064614 | 0.064444 | 0.0646
343 | 0.06373 | 0.063636 | 0.064191
343.5 | 0.062259 | 0.063116 | 0.062769
344 | 0.061332 | 0.061506 | 0.061489
344.5 | 0.060575 | 0.060571 | 0.060609
345 | 0.058854 | 0.059313 | 0.059405
345.5 | 0.057818 | 0.057823 | 0.057821
346 | 0.05666 | 0.056313 | 0.057294
346.5 | 0.055445 | 0.055688 | 0.055432
347 | 0.054359 | 0.054424 | 0.053743
347.5 | 0.052786 | 0.053499 | 0.052718
348 | 0.051624 | 0.052058 | 0.052128
348.5 | 0.050366 | 0.05039 | 0.050492
349 | 0.049722 | 0.048811 | 0.048809
349.5 | 0.047721 | 0.047827 | 0.047432
350 | 0.046021 | 0.046407 | 0.04612
350.5 | 0.044802 | 0.045167 | 0.044861
351 | 0.04412 | 0.043648 | 0.04382
351.5 | 0.042131 | 0.042141 | 0.042293
352 | 0.040819 | 0.0407 | 0.041606
352.5 | 0.039239 | 0.040042 | 0.039361
353 | 0.038103 | 0.037997 | 0.038073
353.5 | 0.036523 | 0.036564 | 0.03681
354 | 0.035541 | 0.034942 | 0.035383
354.5 | 0.033671 | 0.034246 | 0.034225
355 | 0.03429 | 0.033528 | 0.032519
355.5 | 0.032319 | 0.030706 | 0.032224
356 | 0.030747 | 0.030456 | 0.030662
356.5 | 0.029271 | 0.029264 | 0.029588
357 | 0.027841 | 0.027432 | 0.027044
357.5 | 0.026809 | 0.026541 | 0.027146
358 | 0.025293 | 0.026017 | 0.024974
358.5 | 0.024609 | 0.024295 | 0.024377
359 | 0.023738 | 0.023345 | 0.023503
359.5 | 0.022084 | 0.021845 | 0.021519
360 | 0.021308 | 0.021868 | 0.021199
360.5 | 0.020337 | 0.020068 | 0.02064
361 | 0.018706 | 0.019158 | 0.019796
361.5 | 0.017226 | 0.017794 | 0.018533
362 | 0.016661 | 0.017493 | 0.016915
362.5 | 0.016424 | 0.016238 | 0.016329
363 | 0.015109 | 0.015657 | 0.015563
363.5 | 0.01503 | 0.014798 | 0.014575
364 | 0.013817 | 0.014146 | 0.013808
364.5 | 0.012901 | 0.013306 | 0.013494
365 | 0.01221 | 0.012916 | 0.011881
365.5 | 0.011725 | 0.012088 | 0.011827
366 | 0.011157 | 0.011155 | 0.011131
366.5 | 0.010116 | 0.009957 | 0.010514
367 | 0.009539 | 0.01019 | 0.009589
367.5 | 0.00888 | 0.009102 | 0.009423
368 | 0.00848 | 0.00882 | 0.007666
368.5 | 0.008035 | 0.007086 | 0.008254
369 | 0.007645 | 0.007547 | 0.007439
369.5 | 0.007052 | 0.00712 | 0.006958
370 | 0.006799 | 0.006504 | 0.006076
370.5 | 0.006213 | 0.006255 | 0.006537
371 | 0.005295 | 0.006135 | 0.004642
371.5 | 0.005391 | 0.005539 | 0.005809
372 | 0.005041 | 0.004744 | 0.005549
372.5 | 0.004059 | 0.004389 | 0.006039
373 | 0.003893 | 0.004817 | 0.003799
373.5 | 0.003582 | 0.004584 | 0.003949
374 | 0.003589 | 0.003669 | 0.004126
374.5 | 0.003539 | 0.003591 | 0.003751
375 | 0.003213 | 0.003041 | 0.002741
375.5 | 0.002958 | 0.003112 | 0.002855
376 | 0.002267 | 0.003595 | 0.002894
376.5 | 0.002414 | 0.002271 | 0.002554
377 | 0.003091 | 0.002831 | 0.002613
377.5 | 0.001662 | 0.001694 | 0.002574
378 | 0.002178 | 0.002082 | 0.002297
378.5 | 0.002038 | 0.002794 | 0.002271
379 | 0.001839 | 0.001588 | 0.000808
379.5 | 0.001233 | 0.001823 | 0.001055
380 | 0.001128 | 0.001638 | 0.001217
380.5 | 0.001639 | 0.000667 | 0.001335
381 | -0.000136 | 0.001604 | 0.000694
381.5 | 0.001626 | 0.001107 | 0.001258
382 | 0.001124 | 0.000695 | 0.000892
382.5 | 0.001159 | 0.000469 | 0.001011
383 | 0.001282 | 0.000498 | 0.000885
383.5 | 0.000755 | 0.000509 | 0.00109
384 | 0.000645 | 0.000715 | 0.000739
384.5 | 0.000452 | 0.000489 | 0.001371
385 | 0.0007 | 0.000609 | 0.000547
385.5 | 0.000249 | 0.001387 | -0.000416
386 | 0.000161 | 0.000484 | 0.000531
386.5 | 0.000659 | 0.00101 | 0.000275
387 | 0.000575 | -0.000419 | 0.00054
387.5 | 0.000747 | 0.000861 | 0.000576
388 | 0.000247 | 0.000171 | 0.000256
388.5 | -0.000213 | 2.2e-05 | 0.000107
389 | 0.000198 | -0.000407 | 0.000456
389.5 | 0.000487 | 0.000346 | -0.001248
390 | -7.6e-05 | -0.000369 | 0.000899
390.5 | -0.000329 | 0.000378 | -0.000275
391 | 0.000515 | 0.000315 | 0.000114
391.5 | -7.5e-05 | -0.000124 | -0.000321
392 | 0.000639 | 0.000467 | 0.000572
392.5 | -0.000798 | 0.00012 | -0.000347
393 | 5.2e-05 | 0.000146 | 0.000387
393.5 | 0.000698 | 0.000225 | 0.000866
394 | -9.1e-05 | 0.000143 | -0.000368
394.5 | 6e-05 | 0.000307 | 0.000569
395 | 0.000331 | 0.00024 | -0.000106
395.5 | 0.000522 | 0.000392 | 0.00063
396 | 1.8e-05 | 0.000257 | -0.000846
396.5 | -0.00057 | 0.000617 | 0.000113
397 | 0.000414 | -0.000334 | -0.000271
397.5 | 0.00092 | -0.000234 | 0.00045
398 | -0.000687 | -5.3e-05 | -8.7e-05
398.5 | 0.000124 | 0.000278 | 7.8e-05
399 | 0.000225 | -0.000305 | 0.000706
399.5 | 0.000704 | 0.000343 | 6.3e-05
400 | -2e-05 | 0.000306 | 0.000225

## _Calculation
Calibration and determination with Excel formulas
Signal = Amplitude at λ — w1 = 268 (measured by Spectro on the processed spectra)
Change nothing here: the formulas show how Spectro turns signals into concentrations. Compare with the _Expected results sheet.
Standard | B (µg/mL) | Signal
Std: A 0, B 4 | 4 | 0.11185
Std: A 0, B 8 | 8 | 0.22401
Std: A 0, B 12 | 12 | 0.33625
Std: A 0, B 16 | 16 | 0.4483
Std: A 0, B 20 | 20 | 0.56039
Slope
Intercept
Correlation coefficient r
Mixture | B taken (µg/mL) | Signal | Found = (Signal − Intercept) / Slope | Recovery % | Found − added (5)
Sample: A 20, B 6 | 6 | 0.1682
Sample: A 20, B 6 | 6 | 0.16823
Sample: A 20, B 6 | 6 | 0.16837
Mean recovery %
RSD %

## _Expected results
What Spectro gives for this example — Sample enrichment: spiking and spectrum addition
Compound: B; template: Constant multiplication / SS-CM (extended Y)
Step: Constant multiplication (recover Y) (divisor=B′, start=310, end=350, divisor_derivative=0, divisor_delta_lambda=4)
Measurement: Amplitude at λ — w1 = 268
Calibration: slope 0.028034, intercept -0.000251, r = 1.00000 (n = 5)
Sample A 20 + B 1 µg/mL (ratio 20 : 1, B below its range) spiked with 5 µg/mL B; 'Found − added' is the B content (true 1 µg/mL).
Mixture | B found | B taken | Rec. % | Found − added
Tablet 20:1 + 5 B (1) | 6.009 | 6 | 100.14 | 1.009
Tablet 20:1 + 5 B (2) | 6.01 | 6 | 100.16 | 1.01
Tablet 20:1 + 5 B (3) | 6.015 | 6 | 100.25 | 1.015
B: mean recovery 100.18 %, RSD 0.05 %